## Electrometer Data
Sun Nuclear Corporation - PC Electrometer - Log file
.......... New Measurement ..........
Application version: 1.4.1.3
Logging started: 9-22-2021 11:21 am
PC Electrometer S/N: 225885007
Background compensation: YES, Background values: Input1: 0.154 pA, Input2: 0.127 pA
Input 1: Corrected Quantity Transform (pC/Count): 0.0152984, Laboratory Calibration: 1.0000
Input 2: Corrected Quantity Transform (pC/Count): 0.0158881, Laboratory Calibration: 1.0000
Bias Voltage: 0 V, Beam Type: Automatic
Detector1: none, S/N: none
Detector2: none, S/N: none
Time[s] | Charge1[pC] | Curnt1[pA] | AvgCurnt1[pA] | Charge2[pC] | Curnt2[pA] | AvgCurnt2[pA] | Ratio[%] | NF | Temp[C] | Press[kPa] | Pulses
0.5 | -0.00050995 | -0.0010199 | na | 0.063553 | 0.12711 | na | -0.8024 | 1 | 0 | 0 | 0
1 | -0.016318 | -0.031617 | na | -3.0425e-18 | -0.12711 | na | 24.8745 | 1 | 0 | 0 | 0
1.5 | -0.016828 | -0.0010199 | na | 0.015888 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
2 | -0.017338 | -0.0010199 | na | 0.015888 | -6.0911e-18 | na | 16744031682398130 | 1 | 0 | 0 | 0
2.5 | -0.033147 | -0.031617 | na | 0.047664 | 0.063553 | na | -49.749 | 1 | 0 | 0 | 0
3 | 0.012239 | 0.090771 | na | -1.6924e-17 | -0.095329 | na | -95.2185 | 1 | 0 | 0 | 0
3.5 | -0.034166 | -0.09281 | na | -1.9969e-17 | -6.0911e-18 | na | 1.5237e+18 | 1 | 0 | 0 | 0
4 | -0.019378 | 0.029577 | na | -2.3015e-17 | -6.0911e-18 | na | -4.8558e+17 | 1 | 0 | 0 | 0
4.5 | -0.050485 | -0.062214 | na | -2.606e-17 | -6.0911e-18 | na | 1.0214e+18 | 1 | 0 | 0 | 0
5 | -0.081592 | -0.062214 | na | -0.031776 | -0.063553 | na | 97.8932 | 1 | 0 | 0 | 0
5.5 | -0.1127 | -0.062214 | na | -3.0802e-17 | 0.063553 | na | -97.8932 | 1 | 0 | 0 | 0
6 | -0.09791 | 0.029577 | na | 0.063553 | 0.12711 | na | 23.2697 | 1 | 0 | 0 | 0
6.5 | -0.067823 | 0.060174 | na | -0.015888 | -0.15888 | na | -37.8734 | 1 | 0 | 0 | 0
7 | -0.09893 | -0.062214 | na | -0.047664 | -0.063553 | na | 97.8932 | 1 | 0 | 0 | 0
7.5 | -0.053544 | 0.090771 | na | -0.015888 | 0.063553 | na | 142.8277 | 1 | 0 | 0 | 0
8 | -0.084651 | -0.062214 | na | -4.121e-17 | 0.031776 | na | -195.7863 | 1 | 0 | 0 | 0
8.5 | -0.069863 | 0.029577 | na | -4.4255e-17 | -6.0911e-18 | na | -4.8558e+17 | 1 | 0 | 0 | 0
9 | -0.11627 | -0.09281 | na | -0.015888 | -0.031776 | na | 292.0747 | 1 | 0 | 0 | 0
9.5 | -0.10148 | 0.029577 | na | -5.1618e-17 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
10 | -0.086691 | 0.029577 | na | -5.4664e-17 | -6.0911e-18 | na | -4.8558e+17 | 1 | 0 | 0 | 0
10.5 | -0.1178 | -0.062214 | na | -0.031776 | -0.063553 | na | 97.8932 | 1 | 0 | 0 | 0
11 | -0.10301 | 0.029577 | na | -0.015888 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
11.5 | -0.088221 | 0.029577 | na | 0.015888 | 0.063553 | na | 46.5394 | 1 | 0 | 0 | 0
12 | -0.11933 | -0.062214 | na | -0.015888 | -0.063553 | na | 97.8932 | 1 | 0 | 0 | 0
12.5 | -0.11984 | -0.0010199 | na | 0.015888 | 0.063553 | na | -1.6048 | 1 | 0 | 0 | 0
13 | -0.12035 | -0.0010199 | na | 0.047664 | 0.063553 | na | -1.6048 | 1 | 0 | 0 | 0
13.5 | -0.10556 | 0.029577 | na | -0.031776 | -0.15888 | na | -18.6158 | 1 | 0 | 0 | 0
14 | -0.15196 | -0.09281 | na | -7.2435e-17 | 0.063553 | na | -146.0374 | 1 | 0 | 0 | 0
14.5 | -0.13718 | 0.029577 | na | -0.063553 | -0.12711 | na | -23.2697 | 1 | 0 | 0 | 0
15 | -0.16828 | -0.062214 | na | -0.031776 | 0.063553 | na | -97.8932 | 1 | 0 | 0 | 0
15.5 | -0.1382 | 0.060174 | na | -7.2435e-17 | 0.063553 | na | 94.6836 | 1 | 0 | 0 | 0
16 | -0.154 | -0.031617 | na | -7.548e-17 | -6.0911e-18 | na | 5.1906e+17 | 1 | 0 | 0 | 0
16.5 | -0.21571 | -0.12341 | na | -0.047664 | -0.095329 | na | 129.4544 | 1 | 0 | 0 | 0
17 | -0.18562 | 0.060174 | na | -0.015888 | 0.063553 | na | 94.6836 | 1 | 0 | 0 | 0
17.5 | -0.15553 | 0.060174 | na | -0.015888 | -6.0911e-18 | na | -9.879e+17 | 1 | 0 | 0 | 0
18 | -0.15604 | -0.0010199 | na | -0.063553 | -0.095329 | na | 1.0699 | 1 | 0 | 0 | 0
18.5 | -0.23305 | -0.154 | na | -8.6309e-17 | 0.12711 | na | -121.1629 | 1 | 0 | 0 | 0
19 | -0.21826 | 0.029577 | na | -8.9355e-17 | -6.0911e-18 | na | -4.8558e+17 | 1 | 0 | 0 | 0
19.5 | -0.18817 | 0.060174 | na | -0.031776 | -0.063553 | na | -94.6836 | 1 | 0 | 0 | 0
20 | -0.26517 | -0.154 | na | 0.015888 | 0.095329 | na | -161.5505 | 1 | 0 | 0 | 0
20.5 | -0.21979 | 0.090771 | na | -0.015888 | -0.063553 | na | -142.8277 | 1 | 0 | 0 | 0
21 | -0.1897 | 0.060174 | na | -0.015888 | -6.0911e-18 | na | -9.879e+17 | 1 | 0 | 0 | 0
21.5 | -0.2667 | -0.154 | na | -1.0366e-16 | 0.031776 | na | -484.6515 | 1 | 0 | 0 | 0
22 | -0.19072 | 0.15196 | na | -0.015888 | -0.031776 | na | -478.2322 | 1 | 0 | 0 | 0
22.5 | -0.20653 | -0.031617 | na | -0.047664 | -0.063553 | na | 49.749 | 1 | 0 | 0 | 0
23 | -0.22234 | -0.031617 | na | -0.031776 | 0.031776 | na | -99.498 | 1 | 0 | 0 | 0
23.5 | -0.26874 | -0.09281 | na | 0.031776 | 0.12711 | na | -73.0187 | 1 | 0 | 0 | 0
24 | -0.26925 | -0.0010199 | na | 0.047664 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
24.5 | -0.25446 | 0.029577 | na | 0.015888 | -0.063553 | na | -46.5394 | 1 | 0 | 0 | 0
25 | -0.25497 | -0.0010199 | na | -0.031776 | -0.095329 | na | 1.0699 | 1 | 0 | 0 | 0
25.5 | -0.25548 | -0.0010199 | na | -1.2101e-16 | 0.063553 | na | -1.6048 | 1 | 0 | 0 | 0
26 | -0.2254 | 0.060174 | na | -1.2405e-16 | -6.0911e-18 | na | -9.879e+17 | 1 | 0 | 0 | 0
26.5 | -0.3177 | -0.1846 | na | -1.271e-16 | -6.0911e-18 | na | 3.0307e+18 | 1 | 0 | 0 | 0
27 | -0.31821 | -0.0010199 | na | -0.063553 | -0.12711 | na | 0.8024 | 1 | 0 | 0 | 0
27.5 | -0.24222 | 0.15196 | na | -0.031776 | 0.063553 | na | 239.1161 | 1 | 0 | 0 | 0
28 | -0.31923 | -0.154 | na | 0.031776 | 0.12711 | na | -121.1629 | 1 | 0 | 0 | 0
28.5 | -0.30444 | 0.029577 | na | 0.015888 | -0.031776 | na | -93.0788 | 1 | 0 | 0 | 0
29 | -0.30495 | -0.0010199 | na | -0.047664 | -0.12711 | na | 0.8024 | 1 | 0 | 0 | 0
29.5 | -0.29016 | 0.029577 | na | -0.015888 | 0.063553 | na | 46.5394 | 1 | 0 | 0 | 0
30 | -0.32127 | -0.062214 | na | 0.031776 | 0.095329 | na | -65.2621 | 1 | 0 | 0 | 0
30.5 | -0.29118 | 0.060174 | na | 0.015888 | -0.031776 | na | -189.3671 | 1 | 0 | 0 | 0
31 | -0.32229 | -0.062214 | na | 0.031776 | 0.031776 | na | -195.7863 | 1 | 0 | 0 | 0
31.5 | -0.3075 | 0.029577 | na | 0.031776 | -6.0911e-18 | na | -4.8558e+17 | 1 | 0 | 0 | 0
32 | -0.3386 | -0.062214 | na | -0.031776 | -0.12711 | na | 48.9466 | 1 | 0 | 0 | 0
32.5 | -0.29322 | 0.090771 | na | -0.015888 | 0.031776 | na | 285.6555 | 1 | 0 | 0 | 0
33 | -0.30903 | -0.031617 | na | -0.015888 | -6.0911e-18 | na | 5.1906e+17 | 1 | 0 | 0 | 0
33.5 | -0.32484 | -0.031617 | na | -0.015888 | -6.0911e-18 | na | 5.1906e+17 | 1 | 0 | 0 | 0
34 | -0.32535 | -0.0010199 | na | -0.031776 | -0.031776 | na | 3.2096 | 1 | 0 | 0 | 0
34.5 | -0.34115 | -0.031617 | na | -0.031776 | -6.0911e-18 | na | 5.1906e+17 | 1 | 0 | 0 | 0
35 | -0.35696 | -0.031617 | na | -1.6264e-16 | 0.063553 | na | -49.749 | 1 | 0 | 0 | 0
35.5 | -0.35747 | -0.0010199 | na | -0.015888 | -0.031776 | na | 3.2096 | 1 | 0 | 0 | 0
36 | -0.37328 | -0.031617 | na | 0.031776 | 0.095329 | na | -33.166 | 1 | 0 | 0 | 0
36.5 | -0.38909 | -0.031617 | na | -0.015888 | -0.095329 | na | 33.166 | 1 | 0 | 0 | 0
37 | -0.3743 | 0.029577 | na | -0.031776 | -0.031776 | na | -93.0788 | 1 | 0 | 0 | 0
37.5 | -0.31362 | 0.12137 | na | -1.7652e-16 | 0.063553 | na | 190.9719 | 1 | 0 | 0 | 0
38 | -0.36002 | -0.09281 | na | -0.031776 | -0.063553 | na | 146.0374 | 1 | 0 | 0 | 0
38.5 | -0.32994 | 0.060174 | na | -0.015888 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
39 | 0.26619 | 1.1923 | na | -0.031776 | -0.031776 | na | -3752.0367 | 1 | 0 | 0 | 0
39.5 | 0.34217 | 0.15196 | na | 0.015888 | 0.095329 | na | 159.4107 | 1 | 0 | 0 | 0
40 | 0.52525 | 0.36614 | na | -0.031776 | -0.095329 | na | -384.0836 | 1 | 0 | 0 | 0
40.5 | 0.60123 | 0.15196 | na | -0.031776 | -6.0911e-18 | na | -2.4949e+18 | 1 | 0 | 0 | 0
41 | 0.7537 | 0.30495 | na | -0.015888 | 0.031776 | na | 959.6741 | 1 | 0 | 0 | 0
41.5 | 0.89088 | 0.27435 | na | -0.031776 | -0.031776 | na | -863.3857 | 1 | 0 | 0 | 0
42 | 0.98216 | 0.18256 | na | -2.0427e-16 | 0.063553 | na | 287.2603 | 1 | 0 | 0 | 0
42.5 | 1.0581 | 0.15196 | na | 0.015888 | 0.031776 | na | 478.2322 | 1 | 0 | 0 | 0
43 | 1.1647 | 0.21316 | na | -0.015888 | -0.063553 | na | -335.4045 | 1 | 0 | 0 | 0
43.5 | 1.2866 | 0.24375 | na | 0.015888 | 0.063553 | na | 383.5487 | 1 | 0 | 0 | 0
44 | 1.4085 | 0.24375 | na | -2.1815e-16 | -0.031776 | na | -767.0973 | 1 | 0 | 0 | 0
44.5 | 1.5762 | 0.33555 | na | -0.031776 | -0.063553 | na | -527.9812 | 1 | 0 | 0 | 0
45 | 1.7134 | 0.27435 | na | -2.2509e-16 | 0.063553 | na | 431.6928 | 1 | 0 | 0 | 0
45.5 | 1.82 | 0.21316 | na | 0.031776 | 0.063553 | na | 335.4045 | 1 | 0 | 0 | 0
46 | 1.9419 | 0.24375 | na | -0.015888 | -0.095329 | na | -255.6991 | 1 | 0 | 0 | 0
46.5 | 2.5074 | 1.1311 | na | -0.015888 | -6.0911e-18 | na | -1.8569e+19 | 1 | 0 | 0 | 0
47 | 2.461 | -0.09281 | na | 0.015888 | 0.063553 | na | -146.0374 | 1 | 0 | 0 | 0
47.5 | 2.4758 | 0.029577 | na | -0.015888 | -0.063553 | na | -46.5394 | 1 | 0 | 0 | 0
48 | 2.4753 | -0.0010199 | na | -2.4591e-16 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
48.5 | 2.8725 | 0.7945 | na | -0.079441 | -0.15888 | na | -500.0576 | 1 | 0 | 0 | 0
49 | 3.4075 | 1.0699 | na | -2.5284e-16 | 0.15888 | na | 673.3767 | 1 | 0 | 0 | 0
49.5 | 3.5446 | 0.27435 | na | -0.047664 | -0.095329 | na | -287.7952 | 1 | 0 | 0 | 0
50 | 3.7124 | 0.33555 | na | -0.063553 | -0.031776 | na | -1055.9624 | 1 | 0 | 0 | 0
50.5 | 3.8496 | 0.27435 | na | -0.031776 | 0.063553 | na | 431.6928 | 1 | 0 | 0 | 0
51 | 4.0633 | 0.42734 | na | -0.047664 | -0.031776 | na | -1344.8275 | 1 | 0 | 0 | 0
51.5 | 4.2004 | 0.27435 | na | -2.6672e-16 | 0.095329 | na | 287.7952 | 1 | 0 | 0 | 0
52 | 4.307 | 0.21316 | na | -2.6977e-16 | -6.0911e-18 | na | -3.4995e+18 | 1 | 0 | 0 | 0
52.5 | 4.3983 | 0.18256 | na | -0.015888 | -0.031776 | na | -574.5206 | 1 | 0 | 0 | 0
53 | 4.7038 | 0.61092 | na | -2.7713e-16 | 0.031776 | na | 1922.5577 | 1 | 0 | 0 | 0
53.5 | 4.8103 | 0.21316 | na | -0.031776 | -0.063553 | na | -335.4045 | 1 | 0 | 0 | 0
54 | 4.9322 | 0.24375 | na | -0.031776 | -6.0911e-18 | na | -4.0018e+18 | 1 | 0 | 0 | 0
54.5 | 5.0541 | 0.24375 | na | -0.015888 | 0.031776 | na | 767.0973 | 1 | 0 | 0 | 0
55 | 5.2525 | 0.39674 | na | -2.8407e-16 | 0.031776 | na | 1248.5392 | 1 | 0 | 0 | 0
55.5 | 5.3743 | 0.24375 | na | -0.095329 | -0.19066 | na | -127.8496 | 1 | 0 | 0 | 0
56 | 6.2305 | 1.7124 | na | -0.031776 | 0.12711 | na | 1347.2347 | 1 | 0 | 0 | 0
56.5 | 6.2606 | 0.060174 | na | -0.015888 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
57 | 6.2754 | 0.029577 | na | 0.015888 | 0.063553 | na | 46.5394 | 1 | 0 | 0 | 0
57.5 | 6.2749 | -0.0010199 | na | -0.015888 | -0.063553 | na | 1.6048 | 1 | 0 | 0 | 0
58 | 6.2744 | -0.0010199 | na | 0.015888 | 0.063553 | na | -1.6048 | 1 | 0 | 0 | 0
58.5 | 7.406 | 2.2631 | na | -0.047664 | -0.12711 | na | -1780.5324 | 1 | 0 | 0 | 0
59 | 7.5278 | 0.24375 | na | -0.031776 | 0.031776 | na | 767.0973 | 1 | 0 | 0 | 0
59.5 | 7.7568 | 0.45793 | na | -0.031776 | -6.0911e-18 | na | -7.5181e+18 | 1 | 0 | 0 | 0
60 | 8.3231 | 1.1326 | na | -0.015888 | 0.031776 | na | 3564.3188 | 1 | 0 | 0 | 0
60.5 | 8.5827 | 0.51913 | na | -3.1183e-16 | 0.031776 | na | 1633.6926 | 1 | 0 | 0 | 0
61 | 8.7657 | 0.36614 | na | -0.047664 | -0.095329 | na | -384.0836 | 1 | 0 | 0 | 0
61.5 | 8.9947 | 0.45793 | na | -0.047664 | -6.0911e-18 | na | -7.5181e+18 | 1 | 0 | 0 | 0
62 | 9.2084 | 0.42734 | na | -0.015888 | 0.063553 | na | 672.4138 | 1 | 0 | 0 | 0
62.5 | 9.4679 | 0.51913 | na | -3.1877e-16 | 0.031776 | na | 1633.6926 | 1 | 0 | 0 | 0
63 | 9.651 | 0.36614 | na | -0.031776 | -0.063553 | na | -576.1254 | 1 | 0 | 0 | 0
63.5 | 9.8494 | 0.39674 | na | -0.063553 | -0.063553 | na | -624.2696 | 1 | 0 | 0 | 0
64 | 10.0631 | 0.42734 | na | -0.031776 | 0.063553 | na | 672.4138 | 1 | 0 | 0 | 0
64.5 | 10.2614 | 0.39674 | na | -3.2224e-16 | 0.063553 | na | 624.2696 | 1 | 0 | 0 | 0
65 | 10.4139 | 0.30495 | na | -0.063553 | -0.12711 | na | -239.9185 | 1 | 0 | 0 | 0
65.5 | 10.5817 | 0.33555 | na | -0.031776 | 0.063553 | na | 527.9812 | 1 | 0 | 0 | 0
66 | 11.7438 | 2.3243 | na | -0.047664 | -0.031776 | na | -7314.7064 | 1 | 0 | 0 | 0
66.5 | 11.7433 | -0.0010199 | na | -0.015888 | 0.063553 | na | -1.6048 | 1 | 0 | 0 | 0
67 | 11.8193 | 0.15196 | na | -0.047664 | -0.063553 | na | -239.1161 | 1 | 0 | 0 | 0
67.5 | 11.7882 | -0.062214 | na | -0.063553 | -0.031776 | na | 195.7863 | 1 | 0 | 0 | 0
68 | 11.7877 | -0.0010199 | na | -3.3611e-16 | 0.12711 | na | -0.8024 | 1 | 0 | 0 | 0
68.5 | 13.3629 | 3.1505 | na | -0.031776 | -0.063553 | na | -4957.2461 | 1 | 0 | 0 | 0
69 | 13.6225 | 0.51913 | na | 0.015888 | 0.095329 | na | 544.5642 | 1 | 0 | 0 | 0
69.5 | 13.882 | 0.51913 | na | -3.4652e-16 | -0.031776 | na | -1633.6926 | 1 | 0 | 0 | 0
70 | 14.111 | 0.45793 | na | -0.047664 | -0.095329 | na | -480.372 | 1 | 0 | 0 | 0
70.5 | 14.3706 | 0.51913 | na | -0.047664 | -6.0911e-18 | na | -8.5227e+18 | 1 | 0 | 0 | 0
71 | 14.5995 | 0.45793 | na | -0.015888 | 0.063553 | na | 720.558 | 1 | 0 | 0 | 0
71.5 | 14.9356 | 0.67211 | na | -0.015888 | -6.0911e-18 | na | -1.1034e+19 | 1 | 0 | 0 | 0
72 | 15.1799 | 0.48853 | na | -0.031776 | -0.031776 | na | -1537.4043 | 1 | 0 | 0 | 0
72.5 | 15.47 | 0.58032 | na | -0.063553 | -0.063553 | na | -913.1347 | 1 | 0 | 0 | 0
73 | 15.699 | 0.45793 | na | -0.047664 | 0.031776 | na | 1441.1159 | 1 | 0 | 0 | 0
73.5 | 15.9738 | 0.54972 | na | -0.015888 | 0.063553 | na | 864.9905 | 1 | 0 | 0 | 0
74 | 16.2487 | 0.54972 | na | -0.031776 | -0.031776 | na | -1729.981 | 1 | 0 | 0 | 0
74.5 | 16.5083 | 0.51913 | na | -0.031776 | -6.0911e-18 | na | -8.5227e+18 | 1 | 0 | 0 | 0
75 | 16.7678 | 0.51913 | na | -0.031776 | -6.0911e-18 | na | -8.5227e+18 | 1 | 0 | 0 | 0
75.5 | 18.2207 | 2.9057 | na | -0.031776 | -6.0911e-18 | na | -4.7704e+19 | 1 | 0 | 0 | 0
76 | 18.4037 | 0.36614 | na | -0.015888 | 0.031776 | na | 1152.2508 | 1 | 0 | 0 | 0
76.5 | 18.4032 | -0.0010199 | na | -0.047664 | -0.063553 | na | 1.6048 | 1 | 0 | 0 | 0
77 | 18.418 | 0.029577 | na | -0.015888 | 0.063553 | na | 46.5394 | 1 | 0 | 0 | 0
77.5 | 18.3716 | -0.09281 | na | -0.031776 | -0.031776 | na | 292.0747 | 1 | 0 | 0 | 0
78 | 20.0845 | 3.4258 | na | -0.063553 | -0.063553 | na | -5390.5438 | 1 | 0 | 0 | 0
78.5 | 20.4818 | 0.7945 | na | -3.9162e-16 | 0.12711 | na | 625.072 | 1 | 0 | 0 | 0
79 | 20.9402 | 0.91689 | na | -0.031776 | -0.063553 | na | -1442.7207 | 1 | 0 | 0 | 0
79.5 | 21.261 | 0.64151 | na | -3.9856e-16 | 0.063553 | na | 1009.4231 | 1 | 0 | 0 | 0
80 | 21.6582 | 0.7945 | na | -0.047664 | -0.095329 | na | -833.4293 | 1 | 0 | 0 | 0
80.5 | 22.0249 | 0.7333 | na | -0.047664 | -6.0911e-18 | na | -1.2039e+19 | 1 | 0 | 0 | 0
81 | 22.4068 | 0.7639 | na | -4.055e-16 | 0.095329 | na | 801.3332 | 1 | 0 | 0 | 0
81.5 | 22.7582 | 0.70271 | na | 0.015888 | 0.031776 | na | 2211.4229 | 1 | 0 | 0 | 0
82 | 23.0636 | 0.61092 | na | -0.031776 | -0.095329 | na | -640.8526 | 1 | 0 | 0 | 0
82.5 | 23.5068 | 0.88629 | na | -0.015888 | 0.031776 | na | 2789.1531 | 1 | 0 | 0 | 0
83 | 23.8734 | 0.7333 | na | -0.031776 | -0.031776 | na | -2307.7112 | 1 | 0 | 0 | 0
83.5 | 24.2095 | 0.67211 | na | -0.015888 | 0.031776 | na | 2115.1345 | 1 | 0 | 0 | 0
84 | 24.5762 | 0.7333 | na | -0.015888 | -6.0911e-18 | na | -1.2039e+19 | 1 | 0 | 0 | 0
84.5 | 24.9581 | 0.7639 | na | 0.015888 | 0.063553 | na | 1201.9998 | 1 | 0 | 0 | 0
85 | 25.3401 | 0.7639 | na | -0.047664 | -0.12711 | na | -600.9999 | 1 | 0 | 0 | 0
85.5 | 27.1754 | 3.6706 | na | -0.015888 | 0.063553 | na | 5775.6973 | 1 | 0 | 0 | 0
86 | 27.2054 | 0.060174 | na | -4.3673e-16 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
86.5 | 27.2049 | -0.0010199 | na | -0.047664 | -0.095329 | na | 1.0699 | 1 | 0 | 0 | 0
87 | 27.2197 | 0.029577 | na | -0.047664 | -6.0911e-18 | na | -4.8558e+17 | 1 | 0 | 0 | 0
87.5 | 27.2651 | 0.090771 | na | -0.047664 | -6.0911e-18 | na | -1.4902e+18 | 1 | 0 | 0 | 0
88 | 29.5135 | 4.4967 | na | -0.063553 | -0.031776 | na | -14151.1805 | 1 | 0 | 0 | 0
88.5 | 30.1402 | 1.2535 | na | -4.4713e-16 | 0.12711 | na | 986.1534 | 1 | 0 | 0 | 0
89 | 30.6139 | 0.94748 | na | -0.047664 | -0.095329 | na | -993.9099 | 1 | 0 | 0 | 0
89.5 | 31.1795 | 1.1311 | na | 0.015888 | 0.12711 | na | 889.865 | 1 | 0 | 0 | 0
90 | 31.7603 | 1.1617 | na | -0.063553 | -0.15888 | na | -731.1497 | 1 | 0 | 0 | 0
90.5 | 32.2799 | 1.0393 | na | -0.031776 | 0.063553 | na | 1635.2974 | 1 | 0 | 0 | 0
91 | 32.8761 | 1.1923 | na | -0.015888 | 0.031776 | na | 3752.0367 | 1 | 0 | 0 | 0
91.5 | 33.411 | 1.0699 | na | -0.015888 | -6.0911e-18 | na | -1.7564e+19 | 1 | 0 | 0 | 0
92 | 33.9459 | 1.0699 | na | -4.6795e-16 | 0.031776 | na | 3366.8833 | 1 | 0 | 0 | 0
92.5 | 34.5115 | 1.1311 | na | 0.015888 | 0.031776 | na | 3559.46 | 1 | 0 | 0 | 0
93 | 35.077 | 1.1311 | na | -4.7489e-16 | -0.031776 | na | -3559.46 | 1 | 0 | 0 | 0
93.5 | 35.5966 | 1.0393 | na | 0.031776 | 0.063553 | na | 1635.2974 | 1 | 0 | 0 | 0
94 | 36.1622 | 1.1311 | na | -0.047664 | -0.15888 | na | -711.892 | 1 | 0 | 0 | 0
94.5 | 36.6818 | 1.0393 | na | 0.015888 | 0.12711 | na | 817.6487 | 1 | 0 | 0 | 0
95 | 37.5839 | 1.8042 | na | -0.015888 | -0.063553 | na | -2838.902 | 1 | 0 | 0 | 0
95.5 | 39.3121 | 3.4564 | na | -0.047664 | -0.063553 | na | -5438.688 | 1 | 0 | 0 | 0
96 | 39.3269 | 0.029577 | na | -0.031776 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
96.5 | 39.357 | 0.060174 | na | -0.031776 | -6.0911e-18 | na | -9.879e+17 | 1 | 0 | 0 | 0
97 | 39.3871 | 0.060174 | na | -0.031776 | -6.0911e-18 | na | -9.879e+17 | 1 | 0 | 0 | 0
97.5 | 39.8149 | 0.85569 | na | -0.015888 | 0.031776 | na | 2692.8647 | 1 | 0 | 0 | 0
98 | 42.5987 | 5.5676 | na | -0.031776 | -0.031776 | na | -17521.2734 | 1 | 0 | 0 | 0
98.5 | 43.4549 | 1.7124 | na | 0.015888 | 0.095329 | na | 1796.313 | 1 | 0 | 0 | 0
99 | 44.3723 | 1.8348 | na | -0.047664 | -0.12711 | na | -1443.5231 | 1 | 0 | 0 | 0
99.5 | 45.2285 | 1.7124 | na | -0.079441 | -0.063553 | na | -2694.4695 | 1 | 0 | 0 | 0
100 | 46.2224 | 1.9878 | na | -0.063553 | 0.031776 | na | 6255.5343 | 1 | 0 | 0 | 0
100.5 | 47.0786 | 1.7124 | na | -0.079441 | -0.031776 | na | -5388.939 | 1 | 0 | 0 | 0
101 | 47.9807 | 1.8042 | na | -0.015888 | 0.12711 | na | 1419.451 | 1 | 0 | 0 | 0
101.5 | 48.8828 | 1.8042 | na | -0.047664 | -0.063553 | na | -2838.902 | 1 | 0 | 0 | 0
102 | 49.7849 | 1.8042 | na | -5.0959e-16 | 0.095329 | na | 1892.6014 | 1 | 0 | 0 | 0
102.5 | 50.6564 | 1.743 | na | -5.1263e-16 | -6.0911e-18 | na | -2.8616e+19 | 1 | 0 | 0 | 0
103 | 51.6044 | 1.896 | na | -0.063553 | -0.12711 | na | -1491.6673 | 1 | 0 | 0 | 0
103.5 | 52.4606 | 1.7124 | na | -0.047664 | 0.031776 | na | 5388.939 | 1 | 0 | 0 | 0
104 | 53.3474 | 1.7736 | na | -0.047664 | -6.0911e-18 | na | -2.9118e+19 | 1 | 0 | 0 | 0
104.5 | 54.2342 | 1.7736 | na | -0.031776 | 0.031776 | na | 5581.5157 | 1 | 0 | 0 | 0
105 | 57.171 | 5.8736 | na | -0.047664 | -0.031776 | na | -18484.157 | 1 | 0 | 0 | 0
105.5 | 57.1704 | -0.0010199 | na | -0.031776 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
106 | 57.1852 | 0.029577 | na | -0.047664 | -0.031776 | na | -93.0788 | 1 | 0 | 0 | 0
106.5 | 57.2612 | 0.15196 | na | -0.079441 | -0.063553 | na | -239.1161 | 1 | 0 | 0 | 0
107 | 57.2454 | -0.031617 | na | -0.063553 | 0.031776 | na | -99.498 | 1 | 0 | 0 | 0
107.5 | 60.4117 | 6.3325 | na | -0.031776 | 0.063553 | na | 9964.2413 | 1 | 0 | 0 | 0
108 | 62.0175 | 3.2116 | na | -0.047664 | -0.031776 | na | -10107.069 | 1 | 0 | 0 | 0
108.5 | 63.5468 | 3.0587 | na | -0.063553 | -0.031776 | na | -9625.6272 | 1 | 0 | 0 | 0
109 | 65.1374 | 3.1811 | na | -0.063553 | -6.0911e-18 | na | -5.2225e+19 | 1 | 0 | 0 | 0
109.5 | 66.7279 | 3.1811 | na | -0.063553 | -6.0911e-18 | na | -5.2225e+19 | 1 | 0 | 0 | 0
110 | 68.3184 | 3.1811 | na | -0.031776 | 0.063553 | na | 5005.3903 | 1 | 0 | 0 | 0
110.5 | 69.9242 | 3.2116 | na | -0.031776 | -6.0911e-18 | na | -5.2727e+19 | 1 | 0 | 0 | 0
111 | 71.5148 | 3.1811 | na | -0.031776 | -6.0911e-18 | na | -5.2225e+19 | 1 | 0 | 0 | 0
111.5 | 73.1053 | 3.1811 | na | -0.047664 | -0.031776 | na | -10010.7807 | 1 | 0 | 0 | 0
112 | 74.6346 | 3.0587 | na | -0.031776 | 0.031776 | na | 9625.6272 | 1 | 0 | 0 | 0
112.5 | 76.3169 | 3.3646 | na | -0.047664 | -0.031776 | na | -10588.5109 | 1 | 0 | 0 | 0
113 | 77.8769 | 3.1199 | na | -0.079441 | -0.063553 | na | -4909.102 | 1 | 0 | 0 | 0
113.5 | 79.4827 | 3.2116 | na | -0.063553 | 0.031776 | na | 10107.069 | 1 | 0 | 0 | 0
114 | 80.9967 | 3.0281 | na | -0.047664 | 0.031776 | na | 9529.3388 | 1 | 0 | 0 | 0
114.5 | 82.6484 | 3.3034 | na | -0.079441 | -0.063553 | na | -5197.9671 | 1 | 0 | 0 | 0
115 | 85.6617 | 6.0266 | na | -0.015888 | 0.12711 | na | 4741.3997 | 1 | 0 | 0 | 0
115.5 | 85.6765 | 0.029577 | na | -0.031776 | -0.031776 | na | -93.0788 | 1 | 0 | 0 | 0
116 | 85.676 | -0.0010199 | na | -0.079441 | -0.095329 | na | 1.0699 | 1 | 0 | 0 | 0
116.5 | 85.7061 | 0.060174 | na | -0.047664 | 0.063553 | na | 94.6836 | 1 | 0 | 0 | 0
117 | 85.7056 | -0.0010199 | na | -0.031776 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
117.5 | 90.4782 | 9.5452 | na | -0.079441 | -0.095329 | na | -10012.9204 | 1 | 0 | 0 | 0
118 | 93.3844 | 5.8124 | na | -5.304e-16 | 0.15888 | na | 3658.3161 | 1 | 0 | 0 | 0
118.5 | 96.2141 | 5.6594 | na | -0.079441 | -0.15888 | na | -3562.0277 | 1 | 0 | 0 | 0
119 | 99.1508 | 5.8736 | na | -0.047664 | 0.063553 | na | 9242.0785 | 1 | 0 | 0 | 0
119.5 | 101.9805 | 5.6594 | na | -0.047664 | -6.0911e-18 | na | -9.2913e+19 | 1 | 0 | 0 | 0
120 | 104.902 | 5.843 | na | -5.304e-16 | 0.095329 | na | 6129.2896 | 1 | 0 | 0 | 0
120.5 | 107.7929 | 5.7818 | na | -5.3345e-16 | -6.0911e-18 | na | -9.4922e+19 | 1 | 0 | 0 | 0
121 | 110.6379 | 5.69 | na | -0.063553 | -0.12711 | na | -4476.6067 | 1 | 0 | 0 | 0
121.5 | 113.5135 | 5.7512 | na | -0.031776 | 0.063553 | na | 9049.5018 | 1 | 0 | 0 | 0
122 | 116.4656 | 5.9042 | na | -0.079441 | -0.095329 | na | -6193.4818 | 1 | 0 | 0 | 0
122.5 | 119.3106 | 5.69 | na | -0.079441 | -6.0911e-18 | na | -9.3415e+19 | 1 | 0 | 0 | 0
123 | 122.2015 | 5.7818 | na | -0.015888 | 0.12711 | na | 4548.823 | 1 | 0 | 0 | 0
123.5 | 125.123 | 5.843 | na | -0.095329 | -0.15888 | na | -3677.5737 | 1 | 0 | 0 | 0
124 | 127.9374 | 5.6288 | na | -0.063553 | 0.063553 | na | 8856.925 | 1 | 0 | 0 | 0
124.5 | 133.1077 | 10.3407 | na | -0.015888 | 0.095329 | na | 10847.4196 | 1 | 0 | 0 | 0
125 | 133.2296 | 0.24375 | na | -0.015888 | -6.0911e-18 | na | -4.0018e+18 | 1 | 0 | 0 | 0
125.5 | 133.1679 | -0.12341 | na | -0.063553 | -0.095329 | na | 129.4544 | 1 | 0 | 0 | 0
126 | 133.2133 | 0.090771 | na | -0.047664 | 0.031776 | na | 285.6555 | 1 | 0 | 0 | 0
126.5 | 133.1975 | -0.031617 | na | -0.031776 | 0.031776 | na | -99.498 | 1 | 0 | 0 | 0
127 | 135.9201 | 5.4452 | na | -0.063553 | -0.063553 | na | -8568.0599 | 1 | 0 | 0 | 0
127.5 | 141.58 | 11.3198 | na | -0.015888 | 0.095329 | na | 11874.4955 | 1 | 0 | 0 | 0
128 | 146.6585 | 10.1571 | na | -0.031776 | -0.031776 | na | -31964.5285 | 1 | 0 | 0 | 0
128.5 | 151.8289 | 10.3407 | na | -0.079441 | -0.095329 | na | -10847.4196 | 1 | 0 | 0 | 0
129 | 156.9687 | 10.2795 | na | -0.063553 | 0.031776 | na | 32349.682 | 1 | 0 | 0 | 0
129.5 | 162.0625 | 10.1877 | na | -0.031776 | 0.063553 | na | 16030.4085 | 1 | 0 | 0 | 0
130 | 167.2023 | 10.2795 | na | -0.063553 | -0.063553 | na | -16174.841 | 1 | 0 | 0 | 0
130.5 | 172.2808 | 10.1571 | na | -0.031776 | 0.063553 | na | 15982.2643 | 1 | 0 | 0 | 0
131 | 177.39 | 10.2183 | na | -0.031776 | -6.0911e-18 | na | -1.6776e+20 | 1 | 0 | 0 | 0
131.5 | 182.5298 | 10.2795 | na | -0.047664 | -0.031776 | na | -32349.682 | 1 | 0 | 0 | 0
132 | 187.593 | 10.1265 | na | -0.047664 | -6.0911e-18 | na | -1.6625e+20 | 1 | 0 | 0 | 0
132.5 | 192.7328 | 10.2795 | na | -0.095329 | -0.095329 | na | -10783.2273 | 1 | 0 | 0 | 0
133 | 197.7961 | 10.1265 | na | -0.11122 | -0.031776 | na | -31868.2402 | 1 | 0 | 0 | 0
133.5 | 202.9052 | 10.2183 | na | -0.11122 | -6.0911e-18 | na | -1.6776e+20 | 1 | 0 | 0 | 0
134 | 207.9532 | 10.0959 | na | -0.095329 | 0.031776 | na | 31771.9518 | 1 | 0 | 0 | 0
134.5 | 212.7717 | 9.637 | na | -0.063553 | 0.063553 | na | 15163.8131 | 1 | 0 | 0 | 0
135 | 212.8018 | 0.060174 | na | -0.079441 | -0.031776 | na | -189.3671 | 1 | 0 | 0 | 0
135.5 | 212.8777 | 0.15196 | na | -0.047664 | 0.063553 | na | 239.1161 | 1 | 0 | 0 | 0
136 | 212.9078 | 0.060174 | na | -0.095329 | -0.095329 | na | -63.1224 | 1 | 0 | 0 | 0
136.5 | 212.892 | -0.031617 | na | -0.079441 | 0.031776 | na | -99.498 | 1 | 0 | 0 | 0
137 | 219.3933 | 13.0026 | na | -0.047664 | 0.063553 | na | 20459.6734 | 1 | 0 | 0 | 0
137.5 | 227.7917 | 16.7966 | na | -0.095329 | -0.095329 | na | -17619.7015 | 1 | 0 | 0 | 0
138 | 236.2359 | 16.8884 | na | -0.047664 | 0.095329 | na | 17715.9898 | 1 | 0 | 0 | 0
138.5 | 244.6036 | 16.7354 | na | -0.12711 | -0.15888 | na | -10533.3055 | 1 | 0 | 0 | 0
139 | 253.0631 | 16.919 | na | -0.063553 | 0.12711 | na | 13311.0645 | 1 | 0 | 0 | 0
139.5 | 261.492 | 16.8578 | na | -0.031776 | 0.063553 | na | 26525.8406 | 1 | 0 | 0 | 0
140 | 269.7986 | 16.6131 | na | -0.047664 | -0.031776 | na | -52281.3742 | 1 | 0 | 0 | 0
140.5 | 278.2428 | 16.8884 | na | -0.047664 | -6.0911e-18 | na | -2.7726e+20 | 1 | 0 | 0 | 0
141 | 286.6258 | 16.766 | na | -0.079441 | -0.063553 | na | -26381.408 | 1 | 0 | 0 | 0
141.5 | 295.0394 | 16.8272 | na | -0.031776 | 0.095329 | na | 17651.7976 | 1 | 0 | 0 | 0
142 | 303.4377 | 16.7966 | na | -0.11122 | -0.15888 | na | -10571.8209 | 1 | 0 | 0 | 0
142.5 | 311.8208 | 16.766 | na | -0.095329 | 0.031776 | na | 52762.816 | 1 | 0 | 0 | 0
143 | 320.2038 | 16.766 | na | -0.095329 | -6.0911e-18 | na | -2.7526e+20 | 1 | 0 | 0 | 0
143.5 | 328.6174 | 16.8272 | na | -0.095329 | -6.0911e-18 | na | -2.7626e+20 | 1 | 0 | 0 | 0
144 | 338.1478 | 19.0608 | na | -0.095329 | -6.0911e-18 | na | -3.1293e+20 | 1 | 0 | 0 | 0
144.5 | 339.2488 | 2.202 | na | -0.047664 | 0.095329 | na | 2309.851 | 1 | 0 | 0 | 0
145 | 339.3248 | 0.15196 | na | -0.11122 | -0.12711 | na | -119.5581 | 1 | 0 | 0 | 0
145.5 | 339.309 | -0.031617 | na | -0.079441 | 0.063553 | na | -49.749 | 1 | 0 | 0 | 0
146 | 339.3085 | -0.0010199 | na | -0.079441 | -6.0911e-18 | na | 16744031682398130 | 1 | 0 | 0 | 0
146.5 | 339.4609 | 0.30495 | na | -0.095329 | -0.031776 | na | -959.6741 | 1 | 0 | 0 | 0
147 | 351.4391 | 23.9563 | na | -0.095329 | -6.0911e-18 | na | -3.933e+20 | 1 | 0 | 0 | 0
147.5 | 363.1878 | 23.4973 | na | -0.063553 | 0.063553 | na | 36973.1285 | 1 | 0 | 0 | 0
148 | 374.9517 | 23.5279 | na | -0.079441 | -0.031776 | na | -74042.5453 | 1 | 0 | 0 | 0
148.5 | 386.6086 | 23.3138 | na | -0.095329 | -0.031776 | na | -73368.5268 | 1 | 0 | 0 | 0
149 | 398.3726 | 23.5279 | na | -0.063553 | 0.063553 | na | 37021.2727 | 1 | 0 | 0 | 0
149.5 | 410.0907 | 23.4362 | na | -0.063553 | -6.0911e-18 | na | -3.8476e+20 | 1 | 0 | 0 | 0
150 | 421.8087 | 23.4362 | na | -0.063553 | -6.0911e-18 | na | -3.8476e+20 | 1 | 0 | 0 | 0
150.5 | 433.5268 | 23.4362 | na | -0.095329 | -0.063553 | na | -36876.8401 | 1 | 0 | 0 | 0
151 | 445.2602 | 23.4668 | na | -0.047664 | 0.095329 | na | 24616.6562 | 1 | 0 | 0 | 0
151.5 | 457.2988 | 24.0772 | na | -0.095329 | -0.095329 | na | -25256.9848 | 1 | 0 | 0 | 0
152 | 469.0628 | 23.5279 | na | -0.063553 | 0.063553 | na | 37021.2727 | 1 | 0 | 0 | 0
152.5 | 480.8114 | 23.4973 | na | -0.079441 | -0.031776 | na | -73946.257 | 1 | 0 | 0 | 0
153 | 492.606 | 23.5891 | na | -0.047664 | 0.063553 | na | 37117.561 | 1 | 0 | 0 | 0
153.5 | 504.3088 | 23.4056 | na | -0.095329 | -0.095329 | na | -24552.464 | 1 | 0 | 0 | 0
154 | 512.6306 | 16.6437 | na | -0.031776 | 0.12711 | na | 13094.4156 | 1 | 0 | 0 | 0
154.5 | 512.7219 | 0.18256 | na | -0.079441 | -0.095329 | na | -191.5069 | 1 | 0 | 0 | 0
155 | 512.6602 | -0.12341 | na | -0.063553 | 0.031776 | na | -388.3631 | 1 | 0 | 0 | 0
155.5 | 512.7362 | 0.15196 | na | -0.11122 | -0.095329 | na | -159.4107 | 1 | 0 | 0 | 0
156 | 512.7204 | -0.031617 | na | -0.063553 | 0.095329 | na | -33.166 | 1 | 0 | 0 | 0
156.5 | 517.5542 | 9.6676 | na | -0.079441 | -0.031776 | na | -30423.9147 | 1 | 0 | 0 | 0
157 | 531.3375 | 27.5667 | na | -0.063553 | 0.031776 | na | 86752.6099 | 1 | 0 | 0 | 0
157.5 | 545.1362 | 27.5973 | na | -0.095329 | -0.063553 | na | -43424.4491 | 1 | 0 | 0 | 0
158 | 558.8278 | 27.3831 | na | -0.11122 | -0.031776 | na | -86174.8797 | 1 | 0 | 0 | 0
158.5 | 572.5805 | 27.5055 | na | -0.079441 | 0.063553 | na | 43280.0166 | 1 | 0 | 0 | 0
159 | 586.3792 | 27.5973 | na | -0.063553 | 0.031776 | na | 86848.8983 | 1 | 0 | 0 | 0
159.5 | 600.1014 | 27.4443 | na | -0.079441 | -0.031776 | na | -86367.4564 | 1 | 0 | 0 | 0
160 | 613.7623 | 27.322 | na | -0.079441 | -6.0911e-18 | na | -4.4856e+20 | 1 | 0 | 0 | 0
160.5 | 627.6069 | 27.6891 | na | -0.015888 | 0.12711 | na | 21784.4408 | 1 | 0 | 0 | 0
161 | 641.2985 | 27.3831 | na | -0.063553 | -0.095329 | na | -28724.9599 | 1 | 0 | 0 | 0
161.5 | 655.0665 | 27.5361 | na | -0.079441 | -0.031776 | na | -86656.3215 | 1 | 0 | 0 | 0
162 | 668.8499 | 27.5667 | na | -0.095329 | -0.031776 | na | -86752.6099 | 1 | 0 | 0 | 0
162.5 | 682.6027 | 27.5055 | na | -0.079441 | 0.031776 | na | 86560.0332 | 1 | 0 | 0 | 0
163 | 696.4166 | 27.6279 | na | -0.095329 | -0.031776 | na | -86945.1866 | 1 | 0 | 0 | 0
163.5 | 710.1541 | 27.4749 | na | -0.14299 | -0.095329 | na | -28821.2483 | 1 | 0 | 0 | 0
164 | 713.4121 | 6.5161 | na | -0.079441 | 0.12711 | na | 5126.5532 | 1 | 0 | 0 | 0
164.5 | 713.3657 | -0.09281 | na | -0.11122 | -0.063553 | na | 146.0374 | 1 | 0 | 0 | 0
165 | 713.3958 | 0.060174 | na | -0.079441 | 0.063553 | na | 94.6836 | 1 | 0 | 0 | 0
165.5 | 713.4106 | 0.029577 | na | -0.063553 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
166 | 713.4101 | -0.0010199 | na | -0.047664 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
166.5 | 724.1032 | 21.3862 | na | -0.063553 | -0.031776 | na | -67302.3596 | 1 | 0 | 0 | 0
167 | 738.5291 | 28.8518 | na | -0.079441 | -0.031776 | na | -90796.7214 | 1 | 0 | 0 | 0
167.5 | 752.9856 | 28.913 | na | -0.11122 | -0.063553 | na | -45494.6491 | 1 | 0 | 0 | 0
168 | 767.5033 | 29.0354 | na | -0.095329 | 0.031776 | na | 91374.4516 | 1 | 0 | 0 | 0
168.5 | 782.0363 | 29.066 | na | -0.079441 | 0.031776 | na | 91470.7399 | 1 | 0 | 0 | 0
169 | 796.3704 | 28.6682 | na | -0.095329 | -0.031776 | na | -90218.9912 | 1 | 0 | 0 | 0
169.5 | 810.7351 | 28.7294 | na | -0.063553 | 0.063553 | na | 45205.7839 | 1 | 0 | 0 | 0
170 | 825.2222 | 28.9742 | na | -0.095329 | -0.063553 | na | -45590.9374 | 1 | 0 | 0 | 0
170.5 | 839.7093 | 28.9742 | na | -0.063553 | 0.063553 | na | 45590.9374 | 1 | 0 | 0 | 0
171 | 854.0587 | 28.6988 | na | -0.063553 | -6.0911e-18 | na | -4.7116e+20 | 1 | 0 | 0 | 0
171.5 | 868.5611 | 29.0048 | na | -0.095329 | -0.063553 | na | -45639.0816 | 1 | 0 | 0 | 0
172 | 882.9717 | 28.8212 | na | -0.079441 | 0.031776 | na | 90700.433 | 1 | 0 | 0 | 0
172.5 | 897.4128 | 28.8824 | na | -0.095329 | -0.031776 | na | -90893.0097 | 1 | 0 | 0 | 0
173 | 911.747 | 28.6682 | na | -0.11122 | -0.031776 | na | -90218.9912 | 1 | 0 | 0 | 0
173.5 | 923.312 | 23.1302 | na | -0.11122 | -6.0911e-18 | na | -3.7974e+20 | 1 | 0 | 0 | 0
174 | 923.3268 | 0.029577 | na | -0.079441 | 0.063553 | na | 46.5394 | 1 | 0 | 0 | 0
174.5 | 923.3416 | 0.029577 | na | -0.063553 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
175 | 923.3717 | 0.060174 | na | -0.095329 | -0.063553 | na | -94.6836 | 1 | 0 | 0 | 0
175.5 | 923.3865 | 0.029577 | na | -0.063553 | 0.063553 | na | 46.5394 | 1 | 0 | 0 | 0
176 | 924.9311 | 3.0893 | na | -0.063553 | -6.0911e-18 | na | -5.0718e+19 | 1 | 0 | 0 | 0
176.5 | 939.5253 | 29.1884 | na | -0.14299 | -0.15888 | na | -18371.1787 | 1 | 0 | 0 | 0
177 | 954.52 | 29.9895 | na | -0.095329 | 0.095329 | na | 31458.9788 | 1 | 0 | 0 | 0
177.5 | 969.1907 | 29.3413 | na | -0.047664 | 0.095329 | na | 30779.1118 | 1 | 0 | 0 | 0
178 | 983.739 | 29.0966 | na | -0.095329 | -0.095329 | na | -30522.3428 | 1 | 0 | 0 | 0
178.5 | 998.3944 | 29.3107 | na | -0.095329 | -6.0911e-18 | na | -4.8121e+20 | 1 | 0 | 0 | 0
179 | 1013.0039 | 29.219 | na | -0.063553 | 0.063553 | na | 45976.0909 | 1 | 0 | 0 | 0
179.5 | 1027.5368 | 29.066 | na | -0.11122 | -0.095329 | na | -30490.2466 | 1 | 0 | 0 | 0
180 | 1042.1004 | 29.1272 | na | -0.12711 | -0.031776 | na | -91663.3167 | 1 | 0 | 0 | 0
180.5 | 1056.8323 | 29.4637 | na | -0.079441 | 0.095329 | na | 30907.4962 | 1 | 0 | 0 | 0
181 | 1071.3959 | 29.1272 | na | -0.079441 | -6.0911e-18 | na | -4.7819e+20 | 1 | 0 | 0 | 0
181.5 | 1085.9748 | 29.1578 | na | -0.063553 | 0.031776 | na | 91759.605 | 1 | 0 | 0 | 0
182 | 1100.6454 | 29.3413 | na | -0.079441 | -0.031776 | na | -92337.3353 | 1 | 0 | 0 | 0
182.5 | 1115.1784 | 29.066 | na | -0.12711 | -0.095329 | na | -30490.2466 | 1 | 0 | 0 | 0
183 | 1129.8338 | 29.3107 | na | -0.11122 | 0.031776 | na | 92241.0469 | 1 | 0 | 0 | 0
183.5 | 1135.05 | 10.4325 | na | -0.079441 | 0.063553 | na | 16415.5619 | 1 | 0 | 0 | 0
184 | 1135.0495 | -0.0010199 | na | -0.095329 | -0.031776 | na | 3.2096 | 1 | 0 | 0 | 0
184.5 | 1135.1102 | 0.12137 | na | -0.11122 | -0.031776 | na | -381.9439 | 1 | 0 | 0 | 0
185 | 1135.125 | 0.029577 | na | -0.095329 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
185.5 | 1135.1092 | -0.031617 | na | -0.12711 | -0.063553 | na | 49.749 | 1 | 0 | 0 | 0
186 | 1142.1001 | 13.9817 | na | -0.063553 | 0.12711 | na | 11000.1436 | 1 | 0 | 0 | 0
186.5 | 1156.6483 | 29.0966 | na | -0.095329 | -0.063553 | na | -45783.5142 | 1 | 0 | 0 | 0
187 | 1171.1201 | 28.9436 | na | -0.12711 | -0.063553 | na | -45542.7932 | 1 | 0 | 0 | 0
187.5 | 1185.6072 | 28.9742 | na | -0.095329 | 0.063553 | na | 45590.9374 | 1 | 0 | 0 | 0
188 | 1200.0331 | 28.8518 | na | -0.095329 | -6.0911e-18 | na | -4.7367e+20 | 1 | 0 | 0 | 0
188.5 | 1214.5355 | 29.0048 | na | -0.079441 | 0.031776 | na | 91278.1632 | 1 | 0 | 0 | 0
189 | 1229.0685 | 29.066 | na | -0.095329 | -0.031776 | na | -91470.7399 | 1 | 0 | 0 | 0
189.5 | 1243.5862 | 29.0354 | na | -0.12711 | -0.063553 | na | -45687.2258 | 1 | 0 | 0 | 0
190 | 1258.1039 | 29.0354 | na | -0.11122 | 0.031776 | na | 91374.4516 | 1 | 0 | 0 | 0
190.5 | 1272.5604 | 28.913 | na | -0.079441 | 0.063553 | na | 45494.6491 | 1 | 0 | 0 | 0
191 | 1287.1087 | 29.0966 | na | -0.12711 | -0.095329 | na | -30522.3428 | 1 | 0 | 0 | 0
191.5 | 1301.5346 | 28.8518 | na | -0.063553 | 0.12711 | na | 22699.1803 | 1 | 0 | 0 | 0
192 | 1315.9605 | 28.8518 | na | -0.095329 | -0.063553 | na | -45398.3607 | 1 | 0 | 0 | 0
192.5 | 1330.5393 | 29.1578 | na | -0.079441 | 0.031776 | na | 91759.605 | 1 | 0 | 0 | 0
193 | 1344.1544 | 27.2302 | na | -0.079441 | -6.0911e-18 | na | -4.4705e+20 | 1 | 0 | 0 | 0
193.5 | 1344.1998 | 0.090771 | na | -0.095329 | -0.031776 | na | -285.6555 | 1 | 0 | 0 | 0
194 | 1344.184 | -0.031617 | na | -0.079441 | 0.031776 | na | -99.498 | 1 | 0 | 0 | 0
194.5 | 1344.2141 | 0.060174 | na | -0.11122 | -0.063553 | na | -94.6836 | 1 | 0 | 0 | 0
195 | 1344.2289 | 0.029577 | na | -0.095329 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
195.5 | 1344.2896 | 0.12137 | na | -0.063553 | 0.063553 | na | 190.9719 | 1 | 0 | 0 | 0
196 | 1356.5737 | 24.5682 | na | -0.079441 | -0.031776 | na | -77316.3499 | 1 | 0 | 0 | 0
196.5 | 1370.7701 | 28.3928 | na | -0.095329 | -0.031776 | na | -89352.3958 | 1 | 0 | 0 | 0
197 | 1385.0583 | 28.5764 | na | -0.095329 | -6.0911e-18 | na | -4.6915e+20 | 1 | 0 | 0 | 0
197.5 | 1399.3006 | 28.4846 | na | -0.079441 | 0.031776 | na | 89641.261 | 1 | 0 | 0 | 0
198 | 1413.4359 | 28.2705 | na | -0.11122 | -0.063553 | na | -44483.6212 | 1 | 0 | 0 | 0
198.5 | 1427.617 | 28.3622 | na | -0.063553 | 0.095329 | na | 29752.0358 | 1 | 0 | 0 | 0
199 | 1442.0756 | 28.9173 | na | -0.11122 | -0.095329 | na | -30334.2649 | 1 | 0 | 0 | 0
199.5 | 1456.3026 | 28.454 | na | -0.12711 | -0.031776 | na | -89544.9726 | 1 | 0 | 0 | 0
200 | 1470.7591 | 28.913 | na | -0.063553 | 0.12711 | na | 22747.3245 | 1 | 0 | 0 | 0
200.5 | 1484.8485 | 28.1787 | na | -0.095329 | -0.063553 | na | -44339.1886 | 1 | 0 | 0 | 0
201 | 1499.1367 | 28.5764 | na | -0.11122 | -0.031776 | na | -89930.1261 | 1 | 0 | 0 | 0
201.5 | 1513.2872 | 28.3011 | na | -0.095329 | 0.031776 | na | 89063.5307 | 1 | 0 | 0 | 0
202 | 1527.5448 | 28.5152 | na | -0.12711 | -0.063553 | na | -44868.7747 | 1 | 0 | 0 | 0
202.5 | 1541.7259 | 28.3622 | na | -0.11122 | 0.031776 | na | 89256.1075 | 1 | 0 | 0 | 0
203 | 1548.931 | 14.4101 | na | -0.12711 | -0.031776 | na | -45348.6117 | 1 | 0 | 0 | 0
203.5 | 1548.8999 | -0.062214 | na | -0.095329 | 0.063553 | na | -97.8932 | 1 | 0 | 0 | 0
204 | 1548.9606 | 0.12137 | na | -0.095329 | -6.0911e-18 | na | -1.9925e+18 | 1 | 0 | 0 | 0
204.5 | 1549.0212 | 0.12137 | na | -0.12711 | -0.063553 | na | -190.9719 | 1 | 0 | 0 | 0
205 | 1548.9901 | -0.062214 | na | -0.14299 | -0.031776 | na | 195.7863 | 1 | 0 | 0 | 0
205.5 | 1552.1564 | 6.3325 | na | -0.11122 | 0.063553 | na | 9964.2413 | 1 | 0 | 0 | 0
206 | 1565.848 | 27.3831 | na | -0.063553 | 0.095329 | na | 28724.9599 | 1 | 0 | 0 | 0
206.5 | 1579.4325 | 27.169 | na | -0.11122 | -0.095329 | na | -28500.287 | 1 | 0 | 0 | 0
207 | 1593.0016 | 27.1384 | na | -0.079441 | 0.063553 | na | 42702.2864 | 1 | 0 | 0 | 0
207.5 | 1606.5096 | 27.016 | na | -0.11122 | -0.063553 | na | -42509.7096 | 1 | 0 | 0 | 0
208 | 1620.0329 | 27.0466 | na | -0.11122 | -6.0911e-18 | na | -4.4403e+20 | 1 | 0 | 0 | 0
208.5 | 1633.6174 | 27.169 | na | -0.12711 | -0.031776 | na | -85500.8611 | 1 | 0 | 0 | 0
209 | 1647.2478 | 27.2608 | na | -0.11122 | 0.031776 | na | 85789.7262 | 1 | 0 | 0 | 0
209.5 | 1660.817 | 27.1384 | na | -0.095329 | 0.031776 | na | 85404.5728 | 1 | 0 | 0 | 0
210 | 1674.4321 | 27.2302 | na | -0.095329 | -6.0911e-18 | na | -4.4705e+20 | 1 | 0 | 0 | 0
210.5 | 1688.0319 | 27.1996 | na | -0.063553 | 0.063553 | na | 42798.5747 | 1 | 0 | 0 | 0
211 | 1701.5857 | 27.1078 | na | -0.079441 | -0.031776 | na | -85308.2844 | 1 | 0 | 0 | 0
211.5 | 1715.0784 | 26.9854 | na | -0.063553 | 0.031776 | na | 84923.1309 | 1 | 0 | 0 | 0
212 | 1728.8006 | 27.4443 | na | -0.12711 | -0.12711 | na | -21591.8641 | 1 | 0 | 0 | 0
212.5 | 1742.1097 | 26.6182 | na | -0.095329 | 0.063553 | na | 41883.8353 | 1 | 0 | 0 | 0
213 | 1743.1036 | 1.9878 | na | -0.095329 | -6.0911e-18 | na | -3.2634e+19 | 1 | 0 | 0 | 0
213.5 | 1743.1337 | 0.060174 | na | -0.079441 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
214 | 1743.1332 | -0.0010199 | na | -0.12711 | -0.095329 | na | 1.0699 | 1 | 0 | 0 | 0
214.5 | 1743.1327 | -0.0010199 | na | -0.15888 | -0.063553 | na | 1.6048 | 1 | 0 | 0 | 0
215 | 1743.1781 | 0.090771 | na | -0.11122 | 0.095329 | na | 95.2185 | 1 | 0 | 0 | 0
215.5 | 1750.5208 | 14.6855 | na | -0.15888 | -0.095329 | na | -15405.069 | 1 | 0 | 0 | 0
216 | 1762.759 | 24.4764 | na | -0.12711 | 0.063553 | na | 38513.7424 | 1 | 0 | 0 | 0
216.5 | 1774.9972 | 24.4764 | na | -0.11122 | 0.031776 | na | 77027.4847 | 1 | 0 | 0 | 0
217 | 1787.2049 | 24.4153 | na | -0.079441 | 0.063553 | na | 38417.454 | 1 | 0 | 0 | 0
217.5 | 1799.4125 | 24.4153 | na | -0.12711 | -0.095329 | na | -25611.636 | 1 | 0 | 0 | 0
218 | 1811.5895 | 24.3541 | na | -0.12711 | -6.0911e-18 | na | -3.9983e+20 | 1 | 0 | 0 | 0
218.5 | 1823.7666 | 24.3541 | na | -0.15888 | -0.063553 | na | -38321.1656 | 1 | 0 | 0 | 0
219 | 1835.9589 | 24.3847 | na | -0.11122 | 0.095329 | na | 25579.5399 | 1 | 0 | 0 | 0
219.5 | 1848.1512 | 24.3847 | na | -0.11122 | -6.0911e-18 | na | -4.0033e+20 | 1 | 0 | 0 | 0
220 | 1860.3588 | 24.4153 | na | -0.14299 | -0.063553 | na | -38417.454 | 1 | 0 | 0 | 0
220.5 | 1872.49 | 24.2623 | na | -0.12711 | 0.031776 | na | 76353.4662 | 1 | 0 | 0 | 0
221 | 1884.7741 | 24.5682 | na | -0.11122 | 0.031776 | na | 77316.3499 | 1 | 0 | 0 | 0
221.5 | 1896.8899 | 24.2317 | na | -0.12711 | -0.031776 | na | -76257.1778 | 1 | 0 | 0 | 0
222 | 1909.1435 | 24.507 | na | -0.14299 | -0.031776 | na | -77123.7731 | 1 | 0 | 0 | 0
222.5 | 1916.7616 | 15.2362 | na | -0.095329 | 0.095329 | na | 15982.7992 | 1 | 0 | 0 | 0
223 | 1916.761 | -0.0010199 | na | -0.095329 | -6.0911e-18 | na | 16744031682398130 | 1 | 0 | 0 | 0
223.5 | 1916.7452 | -0.031617 | na | -0.095329 | -6.0911e-18 | na | 5.1906e+17 | 1 | 0 | 0 | 0
224 | 1916.76 | 0.029577 | na | -0.11122 | -0.031776 | na | -93.0788 | 1 | 0 | 0 | 0
224.5 | 1916.8054 | 0.090771 | na | -0.11122 | -6.0911e-18 | na | -1.4902e+18 | 1 | 0 | 0 | 0
225 | 1916.9579 | 0.30495 | na | -0.079441 | 0.063553 | na | 479.837 | 1 | 0 | 0 | 0
225.5 | 1926.2241 | 18.5325 | na | -0.11122 | -0.063553 | na | -29160.9104 | 1 | 0 | 0 | 0
226 | 1935.6627 | 18.8772 | na | -0.12711 | -0.031776 | na | -59406.7134 | 1 | 0 | 0 | 0
226.5 | 1945.1473 | 18.969 | na | -0.11122 | 0.031776 | na | 59695.5785 | 1 | 0 | 0 | 0
227 | 1954.6165 | 18.9384 | na | -0.14299 | -0.063553 | na | -29799.6451 | 1 | 0 | 0 | 0
227.5 | 1963.9633 | 18.6936 | na | -0.12711 | 0.031776 | na | 58828.9832 | 1 | 0 | 0 | 0
228 | 1973.3101 | 18.6936 | na | -0.095329 | 0.063553 | na | 29414.4916 | 1 | 0 | 0 | 0
228.5 | 1982.6875 | 18.7548 | na | -0.14299 | -0.095329 | na | -19673.8533 | 1 | 0 | 0 | 0
229 | 1992.0497 | 18.7242 | na | -0.079441 | 0.12711 | na | 14731.3179 | 1 | 0 | 0 | 0
229.5 | 2001.473 | 18.8466 | na | -0.14299 | -0.12711 | na | -14827.6063 | 1 | 0 | 0 | 0
230 | 2010.8657 | 18.7854 | na | -0.12711 | 0.031776 | na | 59117.8483 | 1 | 0 | 0 | 0
230.5 | 2020.3043 | 18.8772 | na | -0.095329 | 0.063553 | na | 29703.3567 | 1 | 0 | 0 | 0
231 | 2029.6052 | 18.6019 | na | -0.12711 | -0.063553 | na | -29270.0591 | 1 | 0 | 0 | 0
231.5 | 2038.9826 | 18.7548 | na | -0.15888 | -0.063553 | na | -29510.78 | 1 | 0 | 0 | 0
232 | 2048.406 | 18.8466 | na | -0.047664 | 0.22243 | na | 8472.9179 | 1 | 0 | 0 | 0
232.5 | 2050.3025 | 3.793 | na | -0.12711 | -0.15888 | na | -2387.3096 | 1 | 0 | 0 | 0
233 | 2050.3019 | -0.0010199 | na | -0.12711 | -6.0911e-18 | na | 16744031682398130 | 1 | 0 | 0 | 0
233.5 | 2050.2861 | -0.031617 | na | -0.15888 | -0.063553 | na | 49.749 | 1 | 0 | 0 | 0
234 | 2050.3468 | 0.12137 | na | -0.14299 | 0.031776 | na | 381.9439 | 1 | 0 | 0 | 0
234.5 | 2050.3463 | -0.0010199 | na | -0.079441 | 0.12711 | na | -0.8024 | 1 | 0 | 0 | 0
235 | 2052.4876 | 4.2825 | na | -0.079441 | -6.0911e-18 | na | -7.0308e+19 | 1 | 0 | 0 | 0
235.5 | 2058.3464 | 11.7176 | na | -0.15888 | -0.15888 | na | -7375.0471 | 1 | 0 | 0 | 0
236 | 2064.2051 | 11.7176 | na | -0.095329 | 0.12711 | na | 9218.8088 | 1 | 0 | 0 | 0
236.5 | 2069.9874 | 11.5646 | na | -0.12711 | -0.063553 | na | -18196.8967 | 1 | 0 | 0 | 0
237 | 2075.7085 | 11.4422 | na | -0.12711 | -6.0911e-18 | na | -1.8785e+20 | 1 | 0 | 0 | 0
237.5 | 2081.552 | 11.687 | na | -0.11122 | 0.031776 | na | 36778.9469 | 1 | 0 | 0 | 0
238 | 2087.4108 | 11.7176 | na | -0.11122 | -6.0911e-18 | na | -1.9237e+20 | 1 | 0 | 0 | 0
238.5 | 2093.1778 | 11.534 | na | -0.15888 | -0.095329 | na | -12099.1684 | 1 | 0 | 0 | 0
239 | 2098.9448 | 11.534 | na | -0.15888 | -6.0911e-18 | na | -1.8936e+20 | 1 | 0 | 0 | 0
239.5 | 2104.7883 | 11.687 | na | -0.095329 | 0.12711 | na | 9194.7367 | 1 | 0 | 0 | 0
240 | 2110.6012 | 11.6258 | na | -0.12711 | -0.063553 | na | -18293.1851 | 1 | 0 | 0 | 0
240.5 | 2116.4141 | 11.6258 | na | -0.12711 | -6.0911e-18 | na | -1.9087e+20 | 1 | 0 | 0 | 0
241 | 2122.2269 | 11.6258 | na | -0.14299 | -0.031776 | na | -36586.3702 | 1 | 0 | 0 | 0
241.5 | 2128.0704 | 11.687 | na | -0.095329 | 0.095329 | na | 12259.649 | 1 | 0 | 0 | 0
242 | 2132.5371 | 8.9333 | na | -0.11122 | -0.031776 | na | -28112.9938 | 1 | 0 | 0 | 0
242.5 | 2132.5671 | 0.060174 | na | -0.12711 | -0.031776 | na | -189.3671 | 1 | 0 | 0 | 0
243 | 2132.536 | -0.062214 | na | -0.14299 | -0.031776 | na | 195.7863 | 1 | 0 | 0 | 0
243.5 | 2132.5967 | 0.12137 | na | -0.11122 | 0.063553 | na | 190.9719 | 1 | 0 | 0 | 0
244 | 2132.6268 | 0.060174 | na | -0.047664 | 0.12711 | na | 47.3418 | 1 | 0 | 0 | 0
244.5 | 2132.6569 | 0.060174 | na | -0.12711 | -0.15888 | na | -37.8734 | 1 | 0 | 0 | 0
245 | 2134.8747 | 4.4355 | na | -0.12711 | -6.0911e-18 | na | -7.282e+19 | 1 | 0 | 0 | 0
245.5 | 2137.7961 | 5.843 | na | -0.12711 | -6.0911e-18 | na | -9.5927e+19 | 1 | 0 | 0 | 0
246 | 2140.7023 | 5.8124 | na | -0.11122 | 0.031776 | na | 18291.5803 | 1 | 0 | 0 | 0
246.5 | 2143.5473 | 5.69 | na | -0.11122 | -6.0911e-18 | na | -9.3415e+19 | 1 | 0 | 0 | 0
247 | 2146.4535 | 5.8124 | na | -0.17477 | -0.12711 | na | -4572.8951 | 1 | 0 | 0 | 0
247.5 | 2149.3903 | 5.8736 | na | -0.11122 | 0.12711 | na | 4621.0393 | 1 | 0 | 0 | 0
248 | 2152.3271 | 5.8736 | na | -0.12711 | -0.031776 | na | -18484.157 | 1 | 0 | 0 | 0
248.5 | 2155.1874 | 5.7206 | na | -0.14299 | -0.031776 | na | -18002.7152 | 1 | 0 | 0 | 0
249 | 2158.0783 | 5.7818 | na | -0.12711 | 0.031776 | na | 18195.2919 | 1 | 0 | 0 | 0
249.5 | 2160.9386 | 5.7206 | na | -0.11122 | 0.031776 | na | 18002.7152 | 1 | 0 | 0 | 0
250 | 2163.7836 | 5.69 | na | -0.15888 | -0.095329 | na | -5968.8089 | 1 | 0 | 0 | 0
250.5 | 2166.7357 | 5.9042 | na | -0.11122 | 0.095329 | na | 6193.4818 | 1 | 0 | 0 | 0
251 | 2169.5501 | 5.6288 | na | -0.11122 | -6.0911e-18 | na | -9.241e+19 | 1 | 0 | 0 | 0
251.5 | 2172.4256 | 5.7512 | na | -0.12711 | -0.031776 | na | -18099.0036 | 1 | 0 | 0 | 0
252 | 2173.5725 | 2.2937 | na | -0.095329 | 0.063553 | na | 3609.209 | 1 | 0 | 0 | 0
252.5 | 2173.5108 | -0.12341 | na | -0.11122 | -0.031776 | na | 388.3631 | 1 | 0 | 0 | 0
253 | 2173.5562 | 0.090771 | na | -0.15888 | -0.095329 | na | -95.2185 | 1 | 0 | 0 | 0
253.5 | 2173.5863 | 0.060174 | na | -0.14299 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
254 | 2173.5705 | -0.031617 | na | -0.12711 | 0.031776 | na | -99.498 | 1 | 0 | 0 | 0
254.5 | 2173.8453 | 0.54972 | na | -0.14299 | -0.031776 | na | -1729.981 | 1 | 0 | 0 | 0
255 | 2175.2676 | 2.8445 | na | -0.095329 | 0.095329 | na | 2983.8695 | 1 | 0 | 0 | 0
255.5 | 2176.5674 | 2.5997 | na | -0.12711 | -0.063553 | na | -4090.6508 | 1 | 0 | 0 | 0
256 | 2177.9438 | 2.7527 | na | -0.12711 | -6.0911e-18 | na | -4.5192e+19 | 1 | 0 | 0 | 0
256.5 | 2179.2895 | 2.6915 | na | -0.15888 | -0.063553 | na | -4235.0834 | 1 | 0 | 0 | 0
257 | 2180.6047 | 2.6303 | na | -0.14299 | 0.031776 | na | 8277.59 | 1 | 0 | 0 | 0
257.5 | 2181.9504 | 2.6915 | na | -0.14299 | -6.0911e-18 | na | -4.4187e+19 | 1 | 0 | 0 | 0
258 | 2183.2962 | 2.6915 | na | -0.12711 | 0.031776 | na | 8470.1668 | 1 | 0 | 0 | 0
258.5 | 2184.6572 | 2.7221 | na | -0.11122 | 0.031776 | na | 8566.4551 | 1 | 0 | 0 | 0
259 | 2185.9724 | 2.6303 | na | -0.11122 | -6.0911e-18 | na | -4.3183e+19 | 1 | 0 | 0 | 0
259.5 | 2187.3793 | 2.8139 | na | -0.095329 | 0.031776 | na | 8855.3202 | 1 | 0 | 0 | 0
260 | 2188.7098 | 2.6609 | na | -0.095329 | -6.0911e-18 | na | -4.3685e+19 | 1 | 0 | 0 | 0
260.5 | 2190.0249 | 2.6303 | na | -0.095329 | -6.0911e-18 | na | -4.3183e+19 | 1 | 0 | 0 | 0
261 | 2191.386 | 2.7221 | na | -0.12711 | -0.063553 | na | -4283.2276 | 1 | 0 | 0 | 0
261.5 | 2192.5941 | 2.4161 | na | -0.12711 | -6.0911e-18 | na | -3.9667e+19 | 1 | 0 | 0 | 0
262 | 2192.6547 | 0.12137 | na | -0.12711 | -6.0911e-18 | na | -1.9925e+18 | 1 | 0 | 0 | 0
262.5 | 2192.7154 | 0.12137 | na | -0.12711 | -6.0911e-18 | na | -1.9925e+18 | 1 | 0 | 0 | 0
263 | 2192.7302 | 0.029577 | na | -0.15888 | -0.063553 | na | -46.5394 | 1 | 0 | 0 | 0
263.5 | 2192.6991 | -0.062214 | na | -0.14299 | 0.031776 | na | -195.7863 | 1 | 0 | 0 | 0
264 | 2192.7292 | 0.060174 | na | -0.12711 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
264.5 | 2193.2182 | 0.97808 | na | -0.17477 | -0.095329 | na | -1026.0061 | 1 | 0 | 0 | 0
265 | 2193.9062 | 1.3758 | na | -0.12711 | 0.095329 | na | 1443.2556 | 1 | 0 | 0 | 0
265.5 | 2194.5329 | 1.2535 | na | -0.15888 | -0.063553 | na | -1972.3067 | 1 | 0 | 0 | 0
266 | 2195.1749 | 1.284 | na | -0.14299 | 0.031776 | na | 4040.9018 | 1 | 0 | 0 | 0
266.5 | 2195.8322 | 1.3146 | na | -0.17477 | -0.063553 | na | -2068.5951 | 1 | 0 | 0 | 0
267 | 2196.5507 | 1.437 | na | -0.12711 | 0.095329 | na | 1507.4479 | 1 | 0 | 0 | 0
267.5 | 2197.1928 | 1.284 | na | -0.15888 | -0.063553 | na | -2020.4509 | 1 | 0 | 0 | 0
268 | 2197.8195 | 1.2535 | na | -0.15888 | -6.0911e-18 | na | -2.0578e+19 | 1 | 0 | 0 | 0
268.5 | 2198.4768 | 1.3146 | na | -0.12711 | 0.063553 | na | 2068.5951 | 1 | 0 | 0 | 0
269 | 2199.1341 | 1.3146 | na | -0.19066 | -0.12711 | na | -1034.2976 | 1 | 0 | 0 | 0
269.5 | 2199.8068 | 1.3452 | na | -0.15888 | 0.063553 | na | 2116.7393 | 1 | 0 | 0 | 0
270 | 2200.4488 | 1.284 | na | -0.11122 | 0.095329 | na | 1346.9673 | 1 | 0 | 0 | 0
270.5 | 2201.0755 | 1.2535 | na | -0.14299 | -0.063553 | na | -1972.3067 | 1 | 0 | 0 | 0
271 | 2201.7481 | 1.3452 | na | -0.15888 | -0.031776 | na | -4233.4786 | 1 | 0 | 0 | 0
271.5 | 2202.2219 | 0.94748 | na | -0.12711 | 0.063553 | na | 1490.8649 | 1 | 0 | 0 | 0
272 | 2202.2367 | 0.029577 | na | -0.15888 | -0.063553 | na | -46.5394 | 1 | 0 | 0 | 0
272.5 | 2202.2361 | -0.0010199 | na | -0.14299 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
273 | 2202.2968 | 0.12137 | na | -0.14299 | -6.0911e-18 | na | -1.9925e+18 | 1 | 0 | 0 | 0
273.5 | 2202.3422 | 0.090771 | na | -0.12711 | 0.031776 | na | 285.6555 | 1 | 0 | 0 | 0
274 | 2202.3876 | 0.090771 | na | -0.11122 | 0.031776 | na | 285.6555 | 1 | 0 | 0 | 0
274.5 | 2202.7237 | 0.67211 | na | -0.12711 | -0.031776 | na | -2115.1345 | 1 | 0 | 0 | 0
275 | 2203.1821 | 0.91689 | na | -0.12711 | -6.0911e-18 | na | -1.5053e+19 | 1 | 0 | 0 | 0
275.5 | 2203.5334 | 0.70271 | na | -0.17477 | -0.095329 | na | -737.141 | 1 | 0 | 0 | 0
276 | 2203.9613 | 0.85569 | na | -0.17477 | -6.0911e-18 | na | -1.4048e+19 | 1 | 0 | 0 | 0
276.5 | 2204.3891 | 0.85569 | na | -0.15888 | 0.031776 | na | 2692.8647 | 1 | 0 | 0 | 0
277 | 2204.7099 | 0.64151 | na | -0.14299 | 0.031776 | na | 2018.8461 | 1 | 0 | 0 | 0
277.5 | 2205.153 | 0.88629 | na | -0.17477 | -0.063553 | na | -1394.5765 | 1 | 0 | 0 | 0
278 | 2205.4891 | 0.67211 | na | -0.19066 | -0.031776 | na | -2115.1345 | 1 | 0 | 0 | 0
278.5 | 2205.9781 | 0.97808 | na | -0.12711 | 0.12711 | na | 769.5045 | 1 | 0 | 0 | 0
279 | 2206.2989 | 0.64151 | na | -0.15888 | -0.063553 | na | -1009.4231 | 1 | 0 | 0 | 0
279.5 | 2206.6808 | 0.7639 | na | -0.14299 | 0.031776 | na | 2403.9996 | 1 | 0 | 0 | 0
280 | 2207.0934 | 0.82509 | na | -0.17477 | -0.063553 | na | -1298.2882 | 1 | 0 | 0 | 0
280.5 | 2207.4753 | 0.7639 | na | -0.15888 | 0.031776 | na | 2403.9996 | 1 | 0 | 0 | 0
281 | 2207.842 | 0.7333 | na | -0.17477 | -0.031776 | na | -2307.7112 | 1 | 0 | 0 | 0
281.5 | 2208.0251 | 0.36614 | na | -0.12711 | 0.095329 | na | 384.0836 | 1 | 0 | 0 | 0
282 | 2208.0704 | 0.090771 | na | -0.12711 | -6.0911e-18 | na | -1.4902e+18 | 1 | 0 | 0 | 0
282.5 | 2208.0699 | -0.0010199 | na | -0.17477 | -0.095329 | na | 1.0699 | 1 | 0 | 0 | 0
283 | 2208.0847 | 0.029577 | na | -0.15888 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
283.5 | 2208.0842 | -0.0010199 | na | -0.19066 | -0.063553 | na | 1.6048 | 1 | 0 | 0 | 0
284 | 2208.252 | 0.33555 | na | -0.15888 | 0.063553 | na | 527.9812 | 1 | 0 | 0 | 0
284.5 | 2208.5269 | 0.54972 | na | -0.15888 | -6.0911e-18 | na | -9.025e+18 | 1 | 0 | 0 | 0
285 | 2208.8629 | 0.67211 | na | -0.17477 | -0.031776 | na | -2115.1345 | 1 | 0 | 0 | 0
285.5 | 2209.1531 | 0.58032 | na | -0.15888 | 0.031776 | na | 1826.2694 | 1 | 0 | 0 | 0
286 | 2209.4126 | 0.51913 | na | -0.20655 | -0.095329 | na | -544.5642 | 1 | 0 | 0 | 0
286.5 | 2209.7181 | 0.61092 | na | -0.15888 | 0.095329 | na | 640.8526 | 1 | 0 | 0 | 0
287 | 2209.9777 | 0.51913 | na | -0.19066 | -0.063553 | na | -816.8463 | 1 | 0 | 0 | 0
287.5 | 2210.329 | 0.70271 | na | -0.19066 | -6.0911e-18 | na | -1.1537e+19 | 1 | 0 | 0 | 0
288 | 2210.558 | 0.45793 | na | -0.19066 | -6.0911e-18 | na | -7.5181e+18 | 1 | 0 | 0 | 0
288.5 | 2210.8481 | 0.58032 | na | -0.17477 | 0.031776 | na | 1826.2694 | 1 | 0 | 0 | 0
289 | 2211.1689 | 0.64151 | na | -0.17477 | -6.0911e-18 | na | -1.0532e+19 | 1 | 0 | 0 | 0
289.5 | 2211.459 | 0.58032 | na | -0.17477 | -6.0911e-18 | na | -9.5274e+18 | 1 | 0 | 0 | 0
290 | 2211.7645 | 0.61092 | na | -0.17477 | -6.0911e-18 | na | -1.003e+19 | 1 | 0 | 0 | 0
290.5 | 2212.0394 | 0.54972 | na | -0.11122 | 0.12711 | na | 432.4953 | 1 | 0 | 0 | 0
291 | 2212.3142 | 0.54972 | na | -0.17477 | -0.12711 | na | -432.4953 | 1 | 0 | 0 | 0
291.5 | 2212.2831 | -0.062214 | na | -0.17477 | -6.0911e-18 | na | 1.0214e+18 | 1 | 0 | 0 | 0
292 | 2212.3285 | 0.090771 | na | -0.15888 | 0.031776 | na | 285.6555 | 1 | 0 | 0 | 0
292.5 | 2212.3892 | 0.12137 | na | -0.15888 | -6.0911e-18 | na | -1.9925e+18 | 1 | 0 | 0 | 0
293 | 2212.3887 | -0.0010199 | na | -0.15888 | -6.0911e-18 | na | 16744031682398130 | 1 | 0 | 0 | 0
293.5 | 2212.3882 | -0.0010199 | na | -0.19066 | -0.063553 | na | 1.6048 | 1 | 0 | 0 | 0
294 | 2212.5865 | 0.39674 | na | -0.17477 | 0.031776 | na | 1248.5392 | 1 | 0 | 0 | 0
294.5 | 2212.9226 | 0.67211 | na | -0.17477 | -6.0911e-18 | na | -1.1034e+19 | 1 | 0 | 0 | 0
295 | 2213.121 | 0.39674 | na | -0.17477 | -6.0911e-18 | na | -6.5134e+18 | 1 | 0 | 0 | 0
295.5 | 2213.3346 | 0.42734 | na | -0.15888 | 0.031776 | na | 1344.8275 | 1 | 0 | 0 | 0
296 | 2213.5789 | 0.48853 | na | -0.17477 | -0.031776 | na | -1537.4043 | 1 | 0 | 0 | 0
296.5 | 2213.762 | 0.36614 | na | -0.17477 | -6.0911e-18 | na | -6.0111e+18 | 1 | 0 | 0 | 0
297 | 2214.0827 | 0.64151 | na | -0.19066 | -0.031776 | na | -2018.8461 | 1 | 0 | 0 | 0
297.5 | 2214.3117 | 0.45793 | na | -0.14299 | 0.095329 | na | 480.372 | 1 | 0 | 0 | 0
298 | 2214.5101 | 0.39674 | na | -0.20655 | -0.12711 | na | -312.1348 | 1 | 0 | 0 | 0
298.5 | 2214.7543 | 0.48853 | na | -0.19066 | 0.031776 | na | 1537.4043 | 1 | 0 | 0 | 0
299 | 2214.9986 | 0.48853 | na | -0.19066 | -6.0911e-18 | na | -8.0204e+18 | 1 | 0 | 0 | 0
299.5 | 2215.2429 | 0.48853 | na | -0.14299 | 0.095329 | na | 512.4681 | 1 | 0 | 0 | 0
300 | 2215.4871 | 0.48853 | na | -0.19066 | -0.095329 | na | -512.4681 | 1 | 0 | 0 | 0
300.5 | 2215.6855 | 0.39674 | na | -0.15888 | 0.063553 | na | 624.2696 | 1 | 0 | 0 | 0
301 | 2215.8686 | 0.36614 | na | -0.12711 | 0.063553 | na | 576.1254 | 1 | 0 | 0 | 0
301.5 | 2215.8375 | -0.062214 | na | -0.14299 | -0.031776 | na | 195.7863 | 1 | 0 | 0 | 0
302 | 2215.8828 | 0.090771 | na | -0.14299 | -6.0911e-18 | na | -1.4902e+18 | 1 | 0 | 0 | 0
302.5 | 2215.9129 | 0.060174 | na | -0.17477 | -0.063553 | na | -94.6836 | 1 | 0 | 0 | 0
303 | 2215.9583 | 0.090771 | na | -0.15888 | 0.031776 | na | 285.6555 | 1 | 0 | 0 | 0
303.5 | 2215.9578 | -0.0010199 | na | -0.19066 | -0.063553 | na | 1.6048 | 1 | 0 | 0 | 0
304 | 2216.1562 | 0.39674 | na | -0.17477 | 0.031776 | na | 1248.5392 | 1 | 0 | 0 | 0
304.5 | 2216.3851 | 0.45793 | na | -0.19066 | -0.031776 | na | -1441.1159 | 1 | 0 | 0 | 0
305 | 2216.6294 | 0.48853 | na | -0.20655 | -0.031776 | na | -1537.4043 | 1 | 0 | 0 | 0
305.5 | 2216.8278 | 0.39674 | na | -0.17477 | 0.063553 | na | 624.2696 | 1 | 0 | 0 | 0
306 | 2217.0261 | 0.39674 | na | -0.17477 | -6.0911e-18 | na | -6.5134e+18 | 1 | 0 | 0 | 0
306.5 | 2217.2704 | 0.48853 | na | -0.19066 | -0.031776 | na | -1537.4043 | 1 | 0 | 0 | 0
307 | 2217.4841 | 0.42734 | na | -0.15888 | 0.063553 | na | 672.4138 | 1 | 0 | 0 | 0
307.5 | 2217.6671 | 0.36614 | na | -0.20655 | -0.095329 | na | -384.0836 | 1 | 0 | 0 | 0
308 | 2217.8808 | 0.42734 | na | -0.17477 | 0.063553 | na | 672.4138 | 1 | 0 | 0 | 0
308.5 | 2218.1251 | 0.48853 | na | -0.17477 | -6.0911e-18 | na | -8.0204e+18 | 1 | 0 | 0 | 0
309 | 2218.247 | 0.24375 | na | -0.19066 | -0.031776 | na | -767.0973 | 1 | 0 | 0 | 0
309.5 | 2218.4912 | 0.48853 | na | -0.17477 | 0.031776 | na | 1537.4043 | 1 | 0 | 0 | 0
310 | 2218.7355 | 0.48853 | na | -0.14299 | 0.063553 | na | 768.7021 | 1 | 0 | 0 | 0
310.5 | 2218.8574 | 0.24375 | na | -0.14299 | -6.0911e-18 | na | -4.0018e+18 | 1 | 0 | 0 | 0
311 | 2218.9486 | 0.18256 | na | -0.15888 | -0.031776 | na | -574.5206 | 1 | 0 | 0 | 0
311.5 | 2219.0093 | 0.12137 | na | -0.14299 | 0.031776 | na | 381.9439 | 1 | 0 | 0 | 0
312 | 2219.0241 | 0.029577 | na | -0.19066 | -0.095329 | na | -31.0263 | 1 | 0 | 0 | 0
312.5 | 2219.0236 | -0.0010199 | na | -0.12711 | 0.12711 | na | -0.8024 | 1 | 0 | 0 | 0
313 | 2219.0231 | -0.0010199 | na | -0.20655 | -0.15888 | na | 0.64192 | 1 | 0 | 0 | 0
313.5 | 2219.1603 | 0.27435 | na | -0.17477 | 0.063553 | na | 431.6928 | 1 | 0 | 0 | 0
314 | 2219.3433 | 0.36614 | na | -0.15888 | 0.031776 | na | 1152.2508 | 1 | 0 | 0 | 0
314.5 | 2219.5264 | 0.36614 | na | -0.20655 | -0.095329 | na | -384.0836 | 1 | 0 | 0 | 0
315 | 2219.7248 | 0.39674 | na | -0.15888 | 0.095329 | na | 416.1797 | 1 | 0 | 0 | 0
315.5 | 2219.9385 | 0.42734 | na | -0.22243 | -0.12711 | na | -336.2069 | 1 | 0 | 0 | 0
316 | 2220.0909 | 0.30495 | na | -0.19066 | 0.063553 | na | 479.837 | 1 | 0 | 0 | 0
316.5 | 2220.274 | 0.36614 | na | -0.19066 | -6.0911e-18 | na | -6.0111e+18 | 1 | 0 | 0 | 0
317 | 2220.4724 | 0.39674 | na | -0.17477 | 0.031776 | na | 1248.5392 | 1 | 0 | 0 | 0
317.5 | 2220.6707 | 0.39674 | na | -0.19066 | -0.031776 | na | -1248.5392 | 1 | 0 | 0 | 0
318 | 2220.8385 | 0.33555 | na | -0.20655 | -0.031776 | na | -1055.9624 | 1 | 0 | 0 | 0
318.5 | 2220.991 | 0.30495 | na | -0.20655 | -6.0911e-18 | na | -5.0065e+18 | 1 | 0 | 0 | 0
319 | 2221.2352 | 0.48853 | na | -0.19066 | 0.031776 | na | 1537.4043 | 1 | 0 | 0 | 0
319.5 | 2221.3571 | 0.24375 | na | -0.17477 | 0.031776 | na | 767.0973 | 1 | 0 | 0 | 0
320 | 2221.5708 | 0.42734 | na | -0.20655 | -0.063553 | na | -672.4138 | 1 | 0 | 0 | 0
320.5 | 2221.708 | 0.27435 | na | -0.17477 | 0.063553 | na | 431.6928 | 1 | 0 | 0 | 0
321 | 2221.7381 | 0.060174 | na | -0.19066 | -0.031776 | na | -189.3671 | 1 | 0 | 0 | 0
321.5 | 2221.7987 | 0.12137 | na | -0.14299 | 0.095329 | na | 127.3146 | 1 | 0 | 0 | 0
322 | 2221.7829 | -0.031617 | na | -0.22243 | -0.15888 | na | 19.8996 | 1 | 0 | 0 | 0
322.5 | 2221.8436 | 0.12137 | na | -0.14299 | 0.15888 | na | 76.3888 | 1 | 0 | 0 | 0
323 | 2221.7972 | -0.09281 | na | -0.19066 | -0.095329 | na | 97.3582 | 1 | 0 | 0 | 0
323.5 | 2221.7967 | -0.0010199 | na | -0.23832 | -0.095329 | na | 1.0699 | 1 | 0 | 0 | 0
324 | 2221.8115 | 0.029577 | na | -0.22243 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
324.5 | 2221.8569 | 0.090771 | na | -0.19066 | 0.063553 | na | 142.8277 | 1 | 0 | 0 | 0
325 | 2221.7799 | -0.154 | na | -0.17477 | 0.031776 | na | -484.6515 | 1 | 0 | 0 | 0
325.5 | 2221.7947 | 0.029577 | na | -0.15888 | 0.031776 | na | 93.0788 | 1 | 0 | 0 | 0
326 | 2221.8094 | 0.029577 | na | -0.19066 | -0.063553 | na | -46.5394 | 1 | 0 | 0 | 0
326.5 | 2221.8089 | -0.0010199 | na | -0.17477 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
327 | 2221.7778 | -0.062214 | na | -0.22243 | -0.095329 | na | 65.2621 | 1 | 0 | 0 | 0
327.5 | 2221.8079 | 0.060174 | na | -0.17477 | 0.095329 | na | 63.1224 | 1 | 0 | 0 | 0
328 | 2221.838 | 0.060174 | na | -0.20655 | -0.063553 | na | -94.6836 | 1 | 0 | 0 | 0
328.5 | 2221.8681 | 0.060174 | na | -0.19066 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
329 | 2221.8217 | -0.09281 | na | -0.17477 | 0.031776 | na | -292.0747 | 1 | 0 | 0 | 0
329.5 | 2221.7906 | -0.062214 | na | -0.19066 | -0.031776 | na | 195.7863 | 1 | 0 | 0 | 0
330 | 2221.836 | 0.090771 | na | -0.17477 | 0.031776 | na | 285.6555 | 1 | 0 | 0 | 0
330.5 | 2221.8049 | -0.062214 | na | -0.22243 | -0.095329 | na | 65.2621 | 1 | 0 | 0 | 0
331 | 2221.8349 | 0.060174 | na | -0.22243 | -6.0911e-18 | na | -9.879e+17 | 1 | 0 | 0 | 0
331.5 | 2221.8191 | -0.031617 | na | -0.20655 | 0.031776 | na | -99.498 | 1 | 0 | 0 | 0
332 | 2221.8492 | 0.060174 | na | -0.15888 | 0.095329 | na | 63.1224 | 1 | 0 | 0 | 0
332.5 | 2221.864 | 0.029577 | na | -0.15888 | -6.0911e-18 | na | -4.8558e+17 | 1 | 0 | 0 | 0
333 | 2221.8329 | -0.062214 | na | -0.20655 | -0.095329 | na | 65.2621 | 1 | 0 | 0 | 0
333.5 | 2221.863 | 0.060174 | na | -0.19066 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
334 | 2221.8625 | -0.0010199 | na | -0.15888 | 0.063553 | na | -1.6048 | 1 | 0 | 0 | 0
334.5 | 2221.8467 | -0.031617 | na | -0.20655 | -0.095329 | na | 33.166 | 1 | 0 | 0 | 0
335 | 2221.8768 | 0.060174 | na | -0.17477 | 0.063553 | na | 94.6836 | 1 | 0 | 0 | 0
335.5 | 2221.8915 | 0.029577 | na | -0.19066 | -0.031776 | na | -93.0788 | 1 | 0 | 0 | 0
336 | 2221.891 | -0.0010199 | na | -0.20655 | -0.031776 | na | 3.2096 | 1 | 0 | 0 | 0
336.5 | 2221.8599 | -0.062214 | na | -0.15888 | 0.095329 | na | -65.2621 | 1 | 0 | 0 | 0
337 | 2221.8594 | -0.0010199 | na | -0.14299 | 0.031776 | na | -3.2096 | 1 | 0 | 0 | 0
337.5 | 2221.8436 | -0.031617 | na | -0.19066 | -0.095329 | na | 33.166 | 1 | 0 | 0 | 0
338 | 2221.9043 | 0.12137 | na | -0.20655 | -0.031776 | na | -381.9439 | 1 | 0 | 0 | 0
338.5 | 2221.8732 | -0.062214 | na | -0.15888 | 0.095329 | na | -65.2621 | 1 | 0 | 0 | 0
339 | 2221.8268 | -0.09281 | na | -0.22243 | -0.12711 | na | 73.0187 | 1 | 0 | 0 | 0
339.5 | 2221.8416 | 0.029577 | na | -0.17477 | 0.095329 | na | 31.0263 | 1 | 0 | 0 | 0
340 | 2221.887 | 0.090771 | na | -0.19066 | -0.031776 | na | -285.6555 | 1 | 0 | 0 | 0
340.5 | 2221.8253 | -0.12341 | na | -0.19066 | -6.0911e-18 | na | 2.026e+18 | 1 | 0 | 0 | 0
341 | 2221.8553 | 0.060174 | na | -0.17477 | 0.031776 | na | 189.3671 | 1 | 0 | 0 | 0
341.5 | 2221.8854 | 0.060174 | na | -0.20655 | -0.063553 | na | -94.6836 | 1 | 0 | 0 | 0
342 | 2221.8696 | -0.031617 | na | -0.17477 | 0.063553 | na | -49.749 | 1 | 0 | 0 | 0
342.5 | 2221.915 | 0.090771 | na | -0.20655 | -0.063553 | na | -142.8277 | 1 | 0 | 0 | 0
343 | 2221.8686 | -0.09281 | na | -0.19066 | 0.031776 | na | -292.0747 | 1 | 0 | 0 | 0
343.5 | 2221.8528 | -0.031617 | na | -0.20655 | -0.031776 | na | 99.498 | 1 | 0 | 0 | 0