## Electrometer Data
Sun Nuclear Corporation - PC Electrometer - Log file
.......... New Measurement ..........
Application version: 1.4.1.3
Logging started: 9-1-2021 12:17 pm
PC Electrometer S/N: 225885007
Background compensation: YES, Background values: Input1: 0.147 pA, Input2: 0.131 pA
Input 1: Corrected Quantity Transform (pC/Count): 0.0152984, Laboratory Calibration: 1.0000
Input 2: Corrected Quantity Transform (pC/Count): 0.0158881, Laboratory Calibration: 1.0000
Bias Voltage: 0 V, Beam Type: Automatic
Detector1: none, S/N: none
Detector2: none, S/N: none
Time[s] | Charge1[pC] | Curnt1[pA] | AvgCurnt1[pA] | Charge2[pC] | Curnt2[pA] | AvgCurnt2[pA] | Ratio[%] | NF | Temp[C] | Press[kPa] | Pulses
0.5 | 0.018358 | 0.036716 | na | -0.0021184 | -0.0042368 | na | -866.5953 | 1 | 0 | 0 | 0
1 | -0.024477 | -0.085671 | na | 0.011651 | 0.027539 | na | -311.0855 | 1 | 0 | 0 | 0
1.5 | 0.024477 | 0.09791 | na | -0.022243 | -0.067789 | na | -144.4326 | 1 | 0 | 0 | 0
2 | -0.0030597 | -0.055074 | na | 0.0074145 | 0.059316 | na | -92.8495 | 1 | 0 | 0 | 0
2.5 | 0.030597 | 0.067313 | na | 0.05296 | 0.091092 | na | 73.8957 | 1 | 0 | 0 | 0
3 | 0.0030597 | -0.055074 | na | 0.034954 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
3.5 | 0.036716 | 0.067313 | na | 0.0010592 | -0.067789 | na | -99.2974 | 1 | 0 | 0 | 0
4 | 0.0091791 | -0.055074 | na | -0.0010592 | -0.0042368 | na | 1299.893 | 1 | 0 | 0 | 0
4.5 | -0.064253 | -0.14686 | na | 0.028599 | 0.059316 | na | -247.5987 | 1 | 0 | 0 | 0
5 | 0.030597 | 0.1897 | na | 0.042368 | 0.027539 | na | 688.8322 | 1 | 0 | 0 | 0
5.5 | 0.0030597 | -0.055074 | na | -0.0074145 | -0.099566 | na | 55.3146 | 1 | 0 | 0 | 0
6 | -0.039776 | -0.085671 | na | 0.05402 | 0.12287 | na | -69.7261 | 1 | 0 | 0 | 0
6.5 | -0.021418 | 0.036716 | na | 0.0042368 | -0.099566 | na | -36.8764 | 1 | 0 | 0 | 0
7 | -0.0030597 | 0.036716 | na | 0.018007 | 0.027539 | na | 133.3224 | 1 | 0 | 0 | 0
7.5 | -0.030597 | -0.055074 | na | 0.031776 | 0.027539 | na | -199.9835 | 1 | 0 | 0 | 0
8 | 0.0030597 | 0.067313 | na | 0.029658 | -0.0042368 | na | -1588.7581 | 1 | 0 | 0 | 0
8.5 | -0.024477 | -0.055074 | na | 0.011651 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
9 | -0.021418 | 0.0061194 | na | 0.025421 | 0.027539 | na | 22.2204 | 1 | 0 | 0 | 0
9.5 | -0.048955 | -0.055074 | na | 0.0074145 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
10 | -3.133e-17 | 0.09791 | na | 0.005296 | -0.0042368 | na | -2310.9208 | 1 | 0 | 0 | 0
10.5 | -0.027537 | -0.055074 | na | 0.034954 | 0.059316 | na | -92.8495 | 1 | 0 | 0 | 0
11 | -0.024477 | 0.0061194 | na | 0.016947 | -0.036013 | na | -16.9921 | 1 | 0 | 0 | 0
11.5 | -0.0061194 | 0.036716 | na | -0.0010592 | -0.036013 | na | -101.9524 | 1 | 0 | 0 | 0
12 | 0.027537 | 0.067313 | na | 0.012711 | 0.027539 | na | 244.4243 | 1 | 0 | 0 | 0
12.5 | -0.015298 | -0.085671 | na | -0.005296 | -0.036013 | na | 237.8889 | 1 | 0 | 0 | 0
13 | 0.018358 | 0.067313 | na | -0.0074145 | -0.0042368 | na | -1588.7581 | 1 | 0 | 0 | 0
13.5 | 0.0061194 | -0.024477 | na | -0.0095329 | -0.0042368 | na | 577.7302 | 1 | 0 | 0 | 0
14 | -0.0061194 | -0.024477 | na | -0.043428 | -0.067789 | na | 36.1081 | 1 | 0 | 0 | 0
14.5 | 0.012239 | 0.036716 | na | 0.033895 | 0.15464 | na | 23.7423 | 1 | 0 | 0 | 0
15 | -3.8269e-17 | -0.024477 | na | 0.015888 | -0.036013 | na | 67.9683 | 1 | 0 | 0 | 0
15.5 | 0.033657 | 0.067313 | na | 0.077322 | 0.12287 | na | 54.7848 | 1 | 0 | 0 | 0
16 | -0.0091791 | -0.085671 | na | 0.011651 | -0.13134 | na | 65.2276 | 1 | 0 | 0 | 0
16.5 | 0.024477 | 0.067313 | na | 0.041309 | 0.059316 | na | 113.4827 | 1 | 0 | 0 | 0
17 | 0.027537 | 0.0061194 | na | 0.023303 | -0.036013 | na | -16.9921 | 1 | 0 | 0 | 0
17.5 | 0.015298 | -0.024477 | na | -0.010592 | -0.067789 | na | 36.1081 | 1 | 0 | 0 | 0
18 | -0.027537 | -0.085671 | na | 0.0031776 | 0.027539 | na | -311.0855 | 1 | 0 | 0 | 0
18.5 | 0.0061194 | 0.067313 | na | -0.014829 | -0.036013 | na | -186.9127 | 1 | 0 | 0 | 0
19 | 0.0091791 | 0.0061194 | na | -0.016947 | -0.0042368 | na | -144.4326 | 1 | 0 | 0 | 0
19.5 | -0.0030597 | -0.024477 | na | 0.044487 | 0.12287 | na | -19.9217 | 1 | 0 | 0 | 0
20 | 0.030597 | 0.067313 | na | 0.02648 | -0.036013 | na | -186.9127 | 1 | 0 | 0 | 0
20.5 | 0.018358 | -0.024477 | na | 0.04025 | 0.027539 | na | -88.8816 | 1 | 0 | 0 | 0
21 | 0.0061194 | -0.024477 | na | 0.0063553 | -0.067789 | na | 36.1081 | 1 | 0 | 0 | 0
21.5 | -0.0061194 | -0.024477 | na | 0.020125 | 0.027539 | na | -88.8816 | 1 | 0 | 0 | 0
22 | 0.027537 | 0.067313 | na | 0.033895 | 0.027539 | na | 244.4243 | 1 | 0 | 0 | 0
22.5 | -0.015298 | -0.085671 | na | 1.8201e-16 | -0.067789 | na | 126.3785 | 1 | 0 | 0 | 0
23 | 0.033657 | 0.09791 | na | -0.0021184 | -0.0042368 | na | -2310.9208 | 1 | 0 | 0 | 0
23.5 | 0.021418 | -0.024477 | na | -0.0042368 | -0.0042368 | na | 577.7302 | 1 | 0 | 0 | 0
24 | -0.0061194 | -0.055074 | na | -0.022243 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
24.5 | -0.018358 | -0.024477 | na | -0.0084737 | 0.027539 | na | -88.8816 | 1 | 0 | 0 | 0
25 | 0.030597 | 0.09791 | na | 0.05296 | 0.12287 | na | 79.6869 | 1 | 0 | 0 | 0
25.5 | 0.0030597 | -0.055074 | na | 0.06673 | 0.027539 | na | -199.9835 | 1 | 0 | 0 | 0
26 | -0.024477 | -0.055074 | na | 0.032835 | -0.067789 | na | 81.2433 | 1 | 0 | 0 | 0
26.5 | 0.0091791 | 0.067313 | na | 0.030717 | -0.0042368 | na | -1588.7581 | 1 | 0 | 0 | 0
27 | -0.0030597 | -0.024477 | na | 0.044487 | 0.027539 | na | -88.8816 | 1 | 0 | 0 | 0
27.5 | 0.030597 | 0.067313 | na | 0.02648 | -0.036013 | na | -186.9127 | 1 | 0 | 0 | 0
28 | 0.0030597 | -0.055074 | na | -0.0074145 | -0.067789 | na | 81.2433 | 1 | 0 | 0 | 0
28.5 | 0.0061194 | 0.0061194 | na | -0.0095329 | -0.0042368 | na | -144.4326 | 1 | 0 | 0 | 0
29 | 0.0091791 | 0.0061194 | na | 0.051901 | 0.12287 | na | 4.9804 | 1 | 0 | 0 | 0
29.5 | 0.012239 | 0.0061194 | na | 0.033895 | -0.036013 | na | -16.9921 | 1 | 0 | 0 | 0
30 | -0.061194 | -0.14686 | na | 0.015888 | -0.036013 | na | 407.8096 | 1 | 0 | 0 | 0
30.5 | 0.0030597 | 0.12851 | na | -0.033895 | -0.099566 | na | -129.0674 | 1 | 0 | 0 | 0
31 | -0.0091791 | -0.024477 | na | 0.059316 | 0.18642 | na | -13.1302 | 1 | 0 | 0 | 0
31.5 | 0.024477 | 0.067313 | na | 0.0095329 | -0.099566 | na | -67.6067 | 1 | 0 | 0 | 0
32 | -0.018358 | -0.085671 | na | 0.0074145 | -0.0042368 | na | 2022.0557 | 1 | 0 | 0 | 0
32.5 | -6.6025e-17 | 0.036716 | na | 0.005296 | -0.0042368 | na | -866.5953 | 1 | 0 | 0 | 0
33 | 0.0030597 | 0.0061194 | na | -0.012711 | -0.036013 | na | -16.9921 | 1 | 0 | 0 | 0
33.5 | 0.0061194 | 0.0061194 | na | 0.032835 | 0.091092 | na | 6.7178 | 1 | 0 | 0 | 0
34 | -0.052015 | -0.11627 | na | 0.014829 | -0.036013 | na | 322.8492 | 1 | 0 | 0 | 0
34.5 | -0.0030597 | 0.09791 | na | 0.028599 | 0.027539 | na | 355.5263 | 1 | 0 | 0 | 0
35 | 0.015298 | 0.036716 | na | 0.042368 | 0.027539 | na | 133.3224 | 1 | 0 | 0 | 0
35.5 | -0.012239 | -0.055074 | na | -0.023303 | -0.13134 | na | 41.932 | 1 | 0 | 0 | 0
36 | -0.0091791 | 0.0061194 | na | 0.038132 | 0.12287 | na | 4.9804 | 1 | 0 | 0 | 0
36.5 | -0.036716 | -0.055074 | na | 0.020125 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
37 | -0.0030597 | 0.067313 | na | 0.0021184 | -0.036013 | na | -186.9127 | 1 | 0 | 0 | 0
37.5 | 0.015298 | 0.036716 | na | 0.047664 | 0.091092 | na | 40.3068 | 1 | 0 | 0 | 0
38 | -0.073432 | -0.17746 | na | 0.01377 | -0.067789 | na | 261.784 | 1 | 0 | 0 | 0
38.5 | 0.021418 | 0.1897 | na | 0.043428 | 0.059316 | na | 319.8149 | 1 | 0 | 0 | 0
39 | 0.0091791 | -0.024477 | na | 0.041309 | -0.0042368 | na | 577.7302 | 1 | 0 | 0 | 0
39.5 | -0.033657 | -0.085671 | na | 0.023303 | -0.036013 | na | 237.8889 | 1 | 0 | 0 | 0
40 | 0.030597 | 0.12851 | na | 0.05296 | 0.059316 | na | 216.6488 | 1 | 0 | 0 | 0
40.5 | 0.0030597 | -0.055074 | na | 0.0031776 | -0.099566 | na | 55.3146 | 1 | 0 | 0 | 0
41 | 0.082611 | 0.1591 | na | 0.032835 | 0.059316 | na | 268.2319 | 1 | 0 | 0 | 0
41.5 | 0.055074 | -0.055074 | na | 0.014829 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
42 | 0.073432 | 0.036716 | na | 0.028599 | 0.027539 | na | 133.3224 | 1 | 0 | 0 | 0
42.5 | 1.9123 | 3.6777 | na | 0.010592 | -0.036013 | na | -10212.231 | 1 | 0 | 0 | 0
43 | 4.8068 | 5.7889 | na | 0.024362 | 0.027539 | na | 21020.4914 | 1 | 0 | 0 | 0
43.5 | 7.64 | 5.6665 | na | 0.0063553 | -0.036013 | na | -15734.6521 | 1 | 0 | 0 | 0
44 | 10.5498 | 5.8195 | na | 0.083677 | 0.15464 | na | 3763.1605 | 1 | 0 | 0 | 0
44.5 | 13.4137 | 5.7277 | na | 0.049783 | -0.067789 | na | -8449.3043 | 1 | 0 | 0 | 0
45 | 14.4876 | 2.1479 | na | -0.015888 | -0.13134 | na | -1635.3492 | 1 | 0 | 0 | 0
45.5 | 14.5519 | 0.12851 | na | 0.029658 | 0.091092 | na | 141.0737 | 1 | 0 | 0 | 0
46 | 14.5396 | -0.024477 | na | 0.027539 | -0.0042368 | na | 577.7302 | 1 | 0 | 0 | 0
46.5 | 14.5733 | 0.067313 | na | 0.041309 | 0.027539 | na | 244.4243 | 1 | 0 | 0 | 0
47 | 14.6069 | 0.067313 | na | 0.023303 | -0.036013 | na | -186.9127 | 1 | 0 | 0 | 0
47.5 | 15.4514 | 1.6889 | na | 0.05296 | 0.059316 | na | 2847.3846 | 1 | 0 | 0 | 0
48 | 20.044 | 9.1852 | na | 0.019066 | -0.067789 | na | -13549.5788 | 1 | 0 | 0 | 0
48.5 | 24.6672 | 9.2464 | na | 0.0805 | 0.12287 | na | 7525.434 | 1 | 0 | 0 | 0
49 | 29.3056 | 9.277 | na | 0.062493 | -0.036013 | na | -25759.9704 | 1 | 0 | 0 | 0
49.5 | 33.8829 | 9.1546 | na | 0.044487 | -0.036013 | na | -25420.1291 | 1 | 0 | 0 | 0
50 | 37.3281 | 6.8904 | na | 0.02648 | -0.036013 | na | -19133.0651 | 1 | 0 | 0 | 0
50.5 | 37.3924 | 0.12851 | na | -0.0074145 | -0.067789 | na | -189.5677 | 1 | 0 | 0 | 0
51 | 37.426 | 0.067313 | na | 0.0063553 | 0.027539 | na | 244.4243 | 1 | 0 | 0 | 0
51.5 | 37.4291 | 0.0061194 | na | 0.051901 | 0.091092 | na | 6.7178 | 1 | 0 | 0 | 0
52 | 37.4016 | -0.055074 | na | 0.033895 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
52.5 | 37.4505 | 0.09791 | na | 0.015888 | -0.036013 | na | -271.873 | 1 | 0 | 0 | 0
53 | 43.3894 | 11.8777 | na | 0.029658 | 0.027539 | na | 43129.782 | 1 | 0 | 0 | 0
53.5 | 51.164 | 15.5493 | na | 0.011651 | -0.036013 | na | -43176.837 | 1 | 0 | 0 | 0
54 | 59.0917 | 15.8553 | na | 0.041309 | 0.059316 | na | 26730.3387 | 1 | 0 | 0 | 0
54.5 | 66.9122 | 15.6411 | na | -0.024362 | -0.13134 | na | -11908.6969 | 1 | 0 | 0 | 0
55 | 74.794 | 15.7635 | na | 0.084737 | 0.2182 | na | 7224.4321 | 1 | 0 | 0 | 0
55.5 | 75.7149 | 1.8419 | na | 0.06673 | -0.036013 | na | -5114.6115 | 1 | 0 | 0 | 0
56 | 75.7333 | 0.036716 | na | 0.032835 | -0.067789 | na | -54.1622 | 1 | 0 | 0 | 0
56.5 | 75.721 | -0.024477 | na | 0.030717 | -0.0042368 | na | 577.7302 | 1 | 0 | 0 | 0
57 | 75.77 | 0.09791 | na | 0.012711 | -0.036013 | na | -271.873 | 1 | 0 | 0 | 0
57.5 | 75.8037 | 0.067313 | na | 0.02648 | 0.027539 | na | 244.4243 | 1 | 0 | 0 | 0
58 | 80.1668 | 8.7262 | na | 0.0084737 | -0.036013 | na | -24230.6846 | 1 | 0 | 0 | 0
58.5 | 91.9496 | 23.5657 | na | 0.038132 | 0.059316 | na | 39729.2684 | 1 | 0 | 0 | 0
59 | 103.763 | 23.6269 | na | 0.067789 | 0.059316 | na | 39832.4345 | 1 | 0 | 0 | 0
59.5 | 115.5 | 23.4739 | na | 0.081559 | 0.027539 | na | 85237.426 | 1 | 0 | 0 | 0
60 | 127.2522 | 23.5045 | na | 0.031776 | -0.099566 | na | -23607.0397 | 1 | 0 | 0 | 0
60.5 | 133.1758 | 11.8471 | na | 0.01377 | -0.036013 | na | -32896.6377 | 1 | 0 | 0 | 0
61 | 133.1941 | 0.036716 | na | 0.043428 | 0.059316 | na | 61.8997 | 1 | 0 | 0 | 0
61.5 | 133.2584 | 0.12851 | na | 0.025421 | -0.036013 | na | -356.8334 | 1 | 0 | 0 | 0
62 | 133.2768 | 0.036716 | na | 0.039191 | 0.027539 | na | 133.3224 | 1 | 0 | 0 | 0
62.5 | 133.2798 | 0.0061194 | na | 0.037072 | -0.0042368 | na | -144.4326 | 1 | 0 | 0 | 0
63 | 133.5124 | 0.46507 | na | 0.034954 | -0.0042368 | na | -10976.8739 | 1 | 0 | 0 | 0
63.5 | 147.0698 | 27.1149 | na | 0.048724 | 0.027539 | na | 98458.5596 | 1 | 0 | 0 | 0
64 | 161.178 | 28.2164 | na | 0.046605 | -0.0042368 | na | -665978.4969 | 1 | 0 | 0 | 0
64.5 | 175.5483 | 28.7406 | na | 0.044487 | -0.0042368 | na | -678351.2823 | 1 | 0 | 0 | 0
65 | 189.9931 | 28.8895 | na | 0.058256 | 0.027539 | na | 104902.4735 | 1 | 0 | 0 | 0
65.5 | 202.8162 | 25.6463 | na | 0.056138 | -0.0042368 | na | -605316.8251 | 1 | 0 | 0 | 0
66 | 202.9264 | 0.2203 | na | 0.05402 | -0.0042368 | na | -5199.5719 | 1 | 0 | 0 | 0
66.5 | 202.9906 | 0.12851 | na | 0.020125 | -0.067789 | na | -189.5677 | 1 | 0 | 0 | 0
67 | 203.0243 | 0.067313 | na | 0.049783 | 0.059316 | na | 113.4827 | 1 | 0 | 0 | 0
67.5 | 203.0732 | 0.09791 | na | 0.063553 | 0.027539 | na | 355.5263 | 1 | 0 | 0 | 0
68 | 203.1375 | 0.12851 | na | 0.061434 | -0.0042368 | na | -3033.0836 | 1 | 0 | 0 | 0
68.5 | 211.1569 | 16.0389 | na | 0.011651 | -0.099566 | na | -16108.8391 | 1 | 0 | 0 | 0
69 | 225.8465 | 29.3791 | na | 0.073085 | 0.12287 | na | 23911.058 | 1 | 0 | 0 | 0
69.5 | 240.5972 | 29.5015 | na | -0.04025 | -0.22667 | na | -13015.1277 | 1 | 0 | 0 | 0
70 | 255.3173 | 29.4403 | na | 0.021184 | 0.12287 | na | 23960.8623 | 1 | 0 | 0 | 0
70.5 | 270.0222 | 29.4097 | na | 0.06673 | 0.091092 | na | 32285.7137 | 1 | 0 | 0 | 0
71 | 274.5689 | 9.0934 | na | 0.016947 | -0.099566 | na | -9133.0541 | 1 | 0 | 0 | 0
71.5 | 274.6025 | 0.067313 | na | 0.078381 | 0.12287 | na | 54.7848 | 1 | 0 | 0 | 0
72 | 274.5903 | -0.024477 | na | 0.044487 | -0.067789 | na | 36.1081 | 1 | 0 | 0 | 0
72.5 | 274.6698 | 0.1591 | na | 0.010592 | -0.067789 | na | -234.7029 | 1 | 0 | 0 | 0
73 | 274.6729 | 0.0061194 | na | 0.0084737 | -0.0042368 | na | -144.4326 | 1 | 0 | 0 | 0
73.5 | 277.1696 | 4.9934 | na | 0.0063553 | -0.0042368 | na | -117856.9624 | 1 | 0 | 0 | 0
74 | 291.3849 | 28.4306 | na | 0.067789 | 0.12287 | na | 23139.0909 | 1 | 0 | 0 | 0
74.5 | 305.5543 | 28.3388 | na | 0.049783 | -0.036013 | na | -78690.2527 | 1 | 0 | 0 | 0
75 | 319.6931 | 28.2776 | na | 0.11122 | 0.12287 | na | 23014.5801 | 1 | 0 | 0 | 0
75.5 | 333.8931 | 28.4 | na | 0.077322 | -0.067789 | na | -41894.4671 | 1 | 0 | 0 | 0
76 | 343.8401 | 19.8941 | na | 0.043428 | -0.067789 | na | -29346.8891 | 1 | 0 | 0 | 0
76.5 | 343.8737 | 0.067313 | na | 0.025421 | -0.036013 | na | -186.9127 | 1 | 0 | 0 | 0
77 | 343.8615 | -0.024477 | na | 0.039191 | 0.027539 | na | -88.8816 | 1 | 0 | 0 | 0
77.5 | 343.9105 | 0.09791 | na | 0.05296 | 0.027539 | na | 355.5263 | 1 | 0 | 0 | 0
78 | 343.9135 | 0.0061194 | na | 0.019066 | -0.067789 | na | -9.027 | 1 | 0 | 0 | 0
78.5 | 343.9625 | 0.09791 | na | 0.048724 | 0.059316 | na | 165.0658 | 1 | 0 | 0 | 0
79 | 353.0528 | 18.1806 | na | 0.062493 | 0.027539 | na | 66016.7864 | 1 | 0 | 0 | 0
79.5 | 364.7897 | 23.4739 | na | 0.044487 | -0.036013 | na | -65181.5611 | 1 | 0 | 0 | 0
80 | 376.5114 | 23.4433 | na | 0.058256 | 0.027539 | na | 85126.3241 | 1 | 0 | 0 | 0
80.5 | 388.2177 | 23.4127 | na | 0.024362 | -0.067789 | na | -34537.434 | 1 | 0 | 0 | 0
81 | 399.8782 | 23.3209 | na | 0.05402 | 0.059316 | na | 39316.604 | 1 | 0 | 0 | 0
81.5 | 401.1357 | 2.5151 | na | 0.067789 | 0.027539 | na | 9132.5814 | 1 | 0 | 0 | 0
82 | 401.1082 | -0.055074 | na | 0.065671 | -0.0042368 | na | 1299.893 | 1 | 0 | 0 | 0
82.5 | 401.1265 | 0.036716 | na | 0.063553 | -0.0042368 | na | -866.5953 | 1 | 0 | 0 | 0
83 | 401.1755 | 0.09791 | na | 0.01377 | -0.099566 | na | -98.3371 | 1 | 0 | 0 | 0
83.5 | 401.2245 | 0.09791 | na | 0.075204 | 0.12287 | na | 79.6869 | 1 | 0 | 0 | 0
84 | 404.0271 | 5.6053 | na | 0.041309 | -0.067789 | na | -8268.7636 | 1 | 0 | 0 | 0
84.5 | 411.7712 | 15.4881 | na | 0.055079 | 0.027539 | na | 56239.8137 | 1 | 0 | 0 | 0
85 | 419.4846 | 15.4269 | na | 0.068849 | 0.027539 | na | 56017.6098 | 1 | 0 | 0 | 0
85.5 | 427.2287 | 15.4881 | na | 0.019066 | -0.099566 | na | -15555.6931 | 1 | 0 | 0 | 0
86 | 434.9881 | 15.5187 | na | 0.064612 | 0.091092 | na | 17036.3233 | 1 | 0 | 0 | 0
86.5 | 438.9381 | 7.9001 | na | 0.046605 | -0.036013 | na | -21936.7558 | 1 | 0 | 0 | 0
87 | 438.9259 | -0.024477 | na | 0.076263 | 0.059316 | na | -41.2664 | 1 | 0 | 0 | 0
87.5 | 438.9136 | -0.024477 | na | 0.058256 | -0.036013 | na | 67.9683 | 1 | 0 | 0 | 0
88 | 438.9626 | 0.09791 | na | 0.04025 | -0.036013 | na | -271.873 | 1 | 0 | 0 | 0
88.5 | 439.0115 | 0.09791 | na | 0.069908 | 0.059316 | na | 165.0658 | 1 | 0 | 0 | 0
89 | 439.1523 | 0.28149 | na | 0.051901 | -0.036013 | na | -781.635 | 1 | 0 | 0 | 0
89.5 | 443.4848 | 8.665 | na | 0.033895 | -0.036013 | na | -24060.7639 | 1 | 0 | 0 | 0
90 | 448.0009 | 9.0322 | na | 0.063553 | 0.059316 | na | 15227.3176 | 1 | 0 | 0 | 0
90.5 | 452.4864 | 8.971 | na | 0.077322 | 0.027539 | na | 32575.0956 | 1 | 0 | 0 | 0
91 | 457.0331 | 9.0934 | na | 0.043428 | -0.067789 | na | -13414.1733 | 1 | 0 | 0 | 0
91.5 | 461.1973 | 8.3285 | na | 0.041309 | -0.0042368 | na | -196572.7032 | 1 | 0 | 0 | 0
92 | 461.2769 | 0.1591 | na | 0.039191 | -0.0042368 | na | -3755.2464 | 1 | 0 | 0 | 0
92.5 | 461.3564 | 0.1591 | na | 0.05296 | 0.027539 | na | 577.7302 | 1 | 0 | 0 | 0
93 | 461.2983 | -0.11627 | na | 0.050842 | -0.0042368 | na | 2744.2185 | 1 | 0 | 0 | 0
93.5 | 461.3778 | 0.1591 | na | 0.032835 | -0.036013 | na | -441.7937 | 1 | 0 | 0 | 0
94 | 461.335 | -0.085671 | na | 0.078381 | 0.091092 | na | -94.0491 | 1 | 0 | 0 | 0
94.5 | 463.2198 | 3.7695 | na | 0.076263 | -0.0042368 | na | -88970.452 | 1 | 0 | 0 | 0
95 | 465.9612 | 5.483 | na | 0.058256 | -0.036013 | na | -15224.8902 | 1 | 0 | 0 | 0
95.5 | 468.8404 | 5.7583 | na | 0.072026 | 0.027539 | na | 20909.3894 | 1 | 0 | 0 | 0
96 | 471.5819 | 5.483 | na | 0.069908 | -0.0042368 | na | -129411.5665 | 1 | 0 | 0 | 0
96.5 | 474.3998 | 5.6359 | na | 0.083677 | 0.027539 | na | 20464.9816 | 1 | 0 | 0 | 0
97 | 475.4585 | 2.1173 | na | 0.081559 | -0.0042368 | na | -49973.663 | 1 | 0 | 0 | 0
97.5 | 475.431 | -0.055074 | na | 0.079441 | -0.0042368 | na | 1299.893 | 1 | 0 | 0 | 0
98 | 475.4646 | 0.067313 | na | 0.045546 | -0.067789 | na | -99.2974 | 1 | 0 | 0 | 0
98.5 | 475.4983 | 0.067313 | na | 0.075204 | 0.059316 | na | 113.4827 | 1 | 0 | 0 | 0
99 | 475.4554 | -0.085671 | na | 0.073085 | -0.0042368 | na | 2022.0557 | 1 | 0 | 0 | 0
99.5 | 475.5044 | 0.09791 | na | 0.10274 | 0.059316 | na | 165.0658 | 1 | 0 | 0 | 0
100 | 475.5075 | 0.0061194 | na | 0.05296 | -0.099566 | na | -6.1461 | 1 | 0 | 0 | 0
100.5 | 475.5258 | 0.036716 | na | 0.082618 | 0.059316 | na | 61.8997 | 1 | 0 | 0 | 0
101 | 475.5136 | -0.024477 | na | 0.032835 | -0.099566 | na | 24.5843 | 1 | 0 | 0 | 0
101.5 | 475.5166 | 0.0061194 | na | 0.046605 | 0.027539 | na | 22.2204 | 1 | 0 | 0 | 0
102 | 475.535 | 0.036716 | na | 0.092151 | 0.091092 | na | 40.3068 | 1 | 0 | 0 | 0
102.5 | 475.5381 | 0.0061194 | na | 0.058256 | -0.067789 | na | -9.027 | 1 | 0 | 0 | 0
103 | 475.5258 | -0.024477 | na | 0.024362 | -0.067789 | na | 36.1081 | 1 | 0 | 0 | 0
103.5 | 475.5748 | 0.09791 | na | 0.038132 | 0.027539 | na | 355.5263 | 1 | 0 | 0 | 0
104 | 475.5472 | -0.055074 | na | 0.067789 | 0.059316 | na | -92.8495 | 1 | 0 | 0 | 0
104.5 | 475.5656 | 0.036716 | na | 0.065671 | -0.0042368 | na | -866.5953 | 1 | 0 | 0 | 0
105 | 475.5686 | 0.0061194 | na | 0.079441 | 0.027539 | na | 22.2204 | 1 | 0 | 0 | 0
105.5 | 475.5717 | 0.0061194 | na | 0.077322 | -0.0042368 | na | -144.4326 | 1 | 0 | 0 | 0
106 | 475.5748 | 0.0061194 | na | 0.027539 | -0.099566 | na | -6.1461 | 1 | 0 | 0 | 0
106.5 | 475.5778 | 0.0061194 | na | 0.057197 | 0.059316 | na | 10.3166 | 1 | 0 | 0 | 0
107 | 475.535 | -0.085671 | na | 0.070967 | 0.027539 | na | -311.0855 | 1 | 0 | 0 | 0
107.5 | 475.5839 | 0.09791 | na | 0.037072 | -0.067789 | na | -144.4326 | 1 | 0 | 0 | 0
108 | 475.5258 | -0.11627 | na | 0.082618 | 0.091092 | na | -127.6381 | 1 | 0 | 0 | 0
108.5 | 475.5901 | 0.12851 | na | 0.11228 | 0.059316 | na | 216.6488 | 1 | 0 | 0 | 0
109 | 475.6237 | 0.067313 | na | 0.11016 | -0.0042368 | na | -1588.7581 | 1 | 0 | 0 | 0
109.5 | 475.5962 | -0.055074 | na | 0.092151 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
110 | 475.5992 | 0.0061194 | na | 0.02648 | -0.13134 | na | -4.6591 | 1 | 0 | 0 | 0
110.5 | 475.5564 | -0.085671 | na | 0.056138 | 0.059316 | na | -144.4326 | 1 | 0 | 0 | 0
111 | 475.5901 | 0.067313 | na | 0.085796 | 0.059316 | na | 113.4827 | 1 | 0 | 0 | 0
111.5 | 475.6237 | 0.067313 | na | 0.11545 | 0.059316 | na | 113.4827 | 1 | 0 | 0 | 0
112 | 475.5962 | -0.055074 | na | 0.081559 | -0.067789 | na | 81.2433 | 1 | 0 | 0 | 0
112.5 | 475.5992 | 0.0061194 | na | 0.12711 | 0.091092 | na | 6.7178 | 1 | 0 | 0 | 0
113 | 475.5411 | -0.11627 | na | 0.061434 | -0.13134 | na | 88.5232 | 1 | 0 | 0 | 0
113.5 | 475.5748 | 0.067313 | na | 0.075204 | 0.027539 | na | 244.4243 | 1 | 0 | 0 | 0
114 | 475.6237 | 0.09791 | na | 0.057197 | -0.036013 | na | -271.873 | 1 | 0 | 0 | 0
114.5 | 475.6421 | 0.036716 | na | 0.070967 | 0.027539 | na | 133.3224 | 1 | 0 | 0 | 0
115 | 475.6451 | 0.0061194 | na | 0.068849 | -0.0042368 | na | -144.4326 | 1 | 0 | 0 | 0
115.5 | 475.6176 | -0.055074 | na | 0.050842 | -0.036013 | na | 152.9286 | 1 | 0 | 0 | 0
116 | 475.6666 | 0.09791 | na | 0.0805 | 0.059316 | na | 165.0658 | 1 | 0 | 0 | 0
116.5 | 475.6543 | -0.024477 | na | 0.062493 | -0.036013 | na | 67.9683 | 1 | 0 | 0 | 0
117 | 475.6421 | -0.024477 | na | 0.060375 | -0.0042368 | na | 577.7302 | 1 | 0 | 0 | 0
117.5 | 475.7063 | 0.12851 | na | 0.074145 | 0.027539 | na | 466.6282 | 1 | 0 | 0 | 0
118 | 475.6941 | -0.024477 | na | 0.072026 | -0.0042368 | na | 577.7302 | 1 | 0 | 0 | 0
118.5 | 475.6972 | 0.0061194 | na | 0.069908 | -0.0042368 | na | -144.4326 | 1 | 0 | 0 | 0
119 | 475.7308 | 0.067313 | na | 0.099566 | 0.059316 | na | 113.4827 | 1 | 0 | 0 | 0
119.5 | 475.688 | -0.085671 | na | 0.097447 | -0.0042368 | na | 2022.0557 | 1 | 0 | 0 | 0